| Requirement: |  |  | At least 80% of all water taps and shower heads for bathing (if any) installed are with Water Efficiency Labelling Scheme (WELS) Grade 2 or above. Alternatively Demonstrate that the use of water efficient devices leads to an estimated aggregate annual saving of 5%. |  |  |
| --- | --- | --- | --- | --- | --- |
| Credit Attainable: |  |  |  | Prerequisite |  |
| Checklist: |  |  |  |  |  |
| ☐ |  | Install at least 80% of all water taps and shower heads for bathing (if any) with Water Efficiency Labelling Scheme (WELS) Grade 2 or above |  |  |  |
| Alternatively |  |  |  |  |  |
| ☐ |  | The use of water efficient devices leads to an estimated aggregate annual saving of 5% |  |  |  |
| Explanation to fulfill BEAM Plus criteria: |  |  |  |  |  |
| Enclosures: |  |  |  |  |  |
| ☐ | Schedule of water taps and shower heads for bathing (if any) installed at the locations under the control of the Applicant. |  |  |  |  |
| ☐ | Manufacturer specification or catalogues of water taps and shower heads for bathing (if any). |  |  |  |  |
| ☐ | Registry of the WELS products extracted from Water Supplies Department (WSD)’s website or registration certificate of WELS issued by WSD showing the WELS Grade of the water taps and shower heads for bathing (if any). |  |  |  |  |
| ☐ | On-site photographs. |  |  |  |  |
| ☐ | Other supporting documents, please specify. |  |  |  |  |
| Alternatively, |  |  |  |  |  |
| ☐ | Schedule of water taps and shower heads for bathing (if any) installed at the locations under the control of the Applicant. |  |  |  |  |
| ☐ | Manufacturer specification or catalogues of water taps and shower heads for bathing (if any). |  |  |  |  |
| ☐ | Annual water saving calculations which take into account of the water pressure. |  |  |  |  |
| ☐ | On-site measurement data (if required). |  |  |  |  |
| ☐ | On-site photographs of the water fixtures. |  |  |  |  |
| ☐ | Other supporting documents, please specify. |  |  |  |  |