| Credit Requirement: |  | 1 credit for sustaining the air temperature at the design value within ±1.5°C when the air side system is operating at steady state under normally occupied periods. 1 credit for demonstrating an appropriate temperature (i.e. <25.5°C), relative humidity (i.e. <70%) and air velocity (i.e. <0.3 m/s). |  |  |
| --- | --- | --- | --- | --- |
| Credit Attainable: |  |  | 2 |  |
| Credit anticipated for this submission: |  |  |  |  |
| Explanation to fulfill BEAM Plus criteria: |  |  |  |  |
| Enclosures: |  |  |  |  |
| ☐ | Measurement report endorsed by a CIB. |  |  |  |
| ☐ | Drawings showing the location of measurement locations and ventilation system layouts. |  |  |  |
| ☐ | Other supporting documents, please specify. |  |  |  |