| Credit Requirements: |  |  | Credit(s) shall be based on the reduction of annual HVAC&R consumption by: Credit(s); 1; 2; 3; 4; 5; 6. HVAC&R; 3%; 5%; 10%; 15%; 20%; 25%. And from lighting by: Credit(s); 1; 2; 3; 4; 5; 6; 7; 8. Lighting; 10%; 15%; 20%; 25%; 30%; 35%; 40%; 45%. |
| --- | --- | --- | --- |
| Credit Attainable: |  |  |  | 14 |  |
| Credit(s) anticipated for this submission: |  |  |  |  |  |
| Type of Space: |  |  |  |  |  |
|  |  | air-side air-conditioning system (Over 80% of area served by central plant, the simulation shall cover the project space. The building envelop characteristics will be as described in Appendix 9.1 of the Manual. |  |  |  |
|  |  | unitary air-conditioning system (the simulation will cover the entire air-conditioning installation. The building envelope characteristics shall be as described in Appendix 9.1 of the Manual. |  |  |  |
| Enclosure |  |  |  |  |  |
|  | Narrative, with describing in detail HVAC&R and lighting systems installed; |  |  |  |  |
|  | Simulation, with Software name, version listed; |  |  |  |  |
|  | Exceptional Calculation Method, where used |  |  |  |  |
|  | Methodology, BEC 2012 Edition and Appendix 9.1 of the Manual |  |  |  |  |
|  | Methodology, ASHRAE 90.1-2010, Appendix G, or equivalent |  |  |  |  |
|  | Energy Simulation report, clearly indicating savings for HVAC&R and lighting systems; |  |  |  |  |
|  | Energy Simulation report, with ALL input data, output file; |  |  |  |  |
|  | Energy Simulation report, other documentation to substantiate simulation; |  |  |  |  |
|  | Manufacturer’s catalogue, technical data sheets used in the energy simulation |  |  |  |  |
|  | Drawings, engineering with “As-built” for all systems; |  |  |  |  |
|  | Signature, by HKSAR Registered Energy Assessor. |  |  |  |  |