| Credit Requirements: |  | 2 credits for Commissioning planning detailing all specified commissioning work for HVAC&R, lighting and other BSI systems that impact on energy use and indoor environmental quality, and signed by iCxA 2 credits for Commissioning records, drawings for HVAC&R, lighting and other BSI that impact on energy use and indoor environmental quality, and signed by iCxA. |  |  |
| --- | --- | --- | --- | --- |
| Credit Attainable: |  |  | 4 |  |
| Credit(s) anticipated for this submission: |  |  |  |  |
| Enclosure |  |  |  |  |
| iCxA |  |  |  |  |
|  | ICxA Information, Resume, Scope of work, Verify independent; |  |  |  |
| Commissioning planning |  |  |  |  |
|  | Commissioning plans for all BSI, functional templates, programme, signed by iCxA; |  |  |  |
|  | Commissioning specifications all systems, signed by iCxA; |  |  |  |
| Commissioning records |  |  |  |  |
|  | Records, commissioning reports, forms, measurement schedules, methods for all systems signed by iCxA |  |  |  |
|  | Records with scheduled /deferred commissioning, all systems, signed by iCxA |  |  |  |
|  | Drawings with “As built” for all systems reviewed by iCxA with ALL commissioning data highlighted; |  |  |  |
|  | Record Photographs, sample commissioning procedures, records, measuring; |  |  |  |
| Alternative - No BSI Alteration |  |  |  |  |
|  | Contract/Lease, stating no BSI, and no supplementary BSI installed, signed by director of building owner; |  |  |  |
| iCxA - independent Commissioning Authority |  |  |  |  |
| BSI - Building Services Installation |  |  |  |  |