| Credit Requirements: |  | a) 3 credits for electricity sub-system monitoring with sub-meters (irrespective of ownership) of the prescribed engineering systems b) 1 credit for chilled water energy monitoring with thermal energy meter (irrespective of ownership) of the prescribed CHW system; |  |  |
| --- | --- | --- | --- | --- |
| Credit Attainable: |  |  | 4 |  |
| Credit(s) anticipated for this submission: |  |  |  |  |
| Enclosure |  |  |  |  |
|  | Electricity Monitoring |  |  |  |
|  | Responsible person |  |  |  |
|  | Records with consumption records, BMS screenshot (if used); , T&C reports for all meters and CT’s |  |  |  |
|  | Manufacturer’s catalogue, technical data sheets, O&M manuals, for all meters, safety, and CT’s, |  |  |  |
|  | Drawings, engineering As-built electrical schematic, highlighting installed meter(s); |  |  |  |
|  | Record Photographs with ”as built” installed meter(s) highlighted |  |  |  |
|  | Chilled Water Monitoring |  |  |  |
|  | Responsible person |  |  |  |
|  | Records with consumption records, BMS screenshot (if used), T&C reports for all meters and all sensors; |  |  |  |
|  | Manufacturers catalogue, technical data sheets, and O&M manuals for all meters and all sensors; |  |  |  |
|  | Drawings, engineering As-built schematic, layouts, highlighting installed meter(s); |  |  |  |
|  | Record Photographs with ”as built” installed meter(s) highlighted |  |  |  |

CT - Current Transformer