| Credit Requirements: |  |  | Leasing/Occupying a Green Building with Platinum, Gold, Silver, or Bronze certificate achieves 5, 4, 3, or 2 points respectively. |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  | Alternatively, up to 4 points for Leasing/Occupying an uncertified building that meets the prescribed performance characteristics |  |  |
| Credit Attainable: |  |  |  | 5 |  |
| Credit(s) anticipated for this submission: |  |  |  |  |  |
| Enclosure |  |  |  |  |  |
|  | Certificate, valid less than 5 years old certificate for BEAM certificate grade, or other system |  |  |  |  |
| Alternative |  |  |  |  |  |
|  |  | No Carparking |  |  |  |
|  |  | Drawings, with host building General Building Plan |  |  |  |
|  |  | Record Photographs with no private carparking space in the host building |  |  |  |
|  |  | Local Transportation |  |  |  |
|  |  | Map, scaled walking distances from the main entrance of the host building. |  |  |  |
|  |  | Timetable, for each route, service frequency during the prescribed hours. |  |  |  |
|  |  | Neighbourhood Basic Services |  |  |  |
|  |  | Summary table with neighbourhood basic services, type, distance, map location |  |  |  |
|  |  | Map, scaled 500m walking distance from the host building main entrance |  |  |  |
|  |  | Neighbourhood Recreational Facilities |  |  |  |
|  |  | Summary table with neighbourhood recreational facilities, type, distance, map location |  |  |  |
|  |  | Map, scaled 500m walking distance from the host building main entrance |  |  |  |
|  |  | Light Pollution |  |  |  |
|  |  | Lighting simulation report |  |  |  |
|  |  | Record Photographs, “as built” lighting installation, night view; |  |  |  |
|  |  | Water Efficient Design (greywater reclamation or rainwater harvesting system) |  |  |  |
|  |  | Drawings, schematic drawing, location plans within host building; |  |  |  |
|  |  | Control system, dashboard screenshot |  |  |  |
|  |  | Record Photographs, water systems in operation |  |  |  |
|  |  | Renewable Energy System |  |  |  |
|  |  | Energy monitoring dashboard screenshot |  |  |  |
|  |  | Drawings, engineering, schematic and layout |  |  |  |
|  |  | Record Photographs with system equipment, operating, controls/dashboard |  |  |  |
|  |  | Corporate Social Responsibility Facilities |  |  |  |
|  |  | Responsible person |  |  |  |
|  |  | Drawings, architectural, layout plans, sections, elevations, drawings, engineering |  |  |  |
|  |  | Drawings, engineering, sections, elevations layouts; |  |  |  |
|  |  | Record photographs, “As built” installation, layout, location, signage, opening hours; |  |  |  |