| Credit Requirements: |  |  | A) Background Noise - 1 credit for demonstrating background noise levels are within the prescribed criteria; B) Reverberation Time - 1 credit for demonstrating that the reverberation time in applicable areas meets the prescribed criteria; C) Air-borne Noise Isolation - 1 credit for demonstrating airborne noise isolation between rooms meets the prescribed criteria; |  |  |
| --- | --- | --- | --- | --- | --- |
| Credit Attainable: |  |  |  | 3 |  |
| Credit(s) anticipated for this submission: |  |  |  |  |  |
| Enclosure |  |  |  |  |  |
|  |  | A.Background Noise |  |  |  |
|  |  | Summary table (refer to samples below) ; |  |  |  |
|  |  | Drawings, architectural, with floor plan layout, measurement locations highlighted; |  |  |  |
|  |  | Acoustic measurement report with valid calibration certificate of sound level meters or calculation; |  |  |  |
|  |  | Certificate, calibration certificate for instrument; |  |  |  |
|  |  | Record photographs, with testing in progress; |  |  |  |
|  |  | B.Reverberation Time |  |  |  |
|  |  | Summary table (refer to samples below); |  |  |  |
|  |  | Drawings, architectural, with floor plan layout, measurement locations highlighted; |  |  |  |
|  |  | Site measurement with supporting documents, absorption coefficients, etc. |  |  |  |
|  |  | Calculation at representative locations, with supporting documents, absorption coefficients; |  |  |  |
|  |  | Record photographs, with testing in progress; |  |  |  |
|  |  | C.Air-borne Noise Isolation |  |  |  |
|  |  | Summary table (refer to samples below); |  |  |  |
|  |  | Drawings, architectural, with floor plan layout, construction details, measurement locations highlighted; |  |  |  |
|  |  | Site measurement report Leq5 mins ,or computer simulation with construction used; |  |  |  |
|  |  | Record photographs, with testing in progress; |  |  |  |
|  | A. Background Noise The average internal noise levels are:. Measurement; Calculation. Location; Noise Level; Criteria. |
|  | B. Reverberation Time The average reverberation time for mid frequencies (500Hz, 1kHz and 2kHz) :. Measurement; Calculation. Location; Reverberation Time; Criteria. |
|  | C. Airborne Noise Isolation The Airborne noise isolation:. Measurement; Calculation. Location; Noise Isolation; Criteria. |