| Credit Requirements: |  | 1 credit for compliance with the minimum requirements of ASHRAE 62.1-2010 in respect of Outdoor Air Quality; and Minimum Ventilation Rate. Alternatively 1 credit for carbon dioxide level within the space complies with Good Class requirement as stipulated in IAQ Certification Scheme |  |  |
| --- | --- | --- | --- | --- |
| Credit Attainable: |  |  | 1 |  |
| Credit anticipated for this submission: |  |  |  |  |
| Enclosure |  |  |  |  |
|  | Measurement report for CO, NO2, O3, RSP complies with EPD IAQ Certificate Good Class |  |  |  |
|  | Completed Table H-3 of ANSI/ASHRAE 62.1-2010 compliance with the minimum ventilation rate |  |  |  |
| Alternative |  |  |  |  |
|  | Certificate, valid EPD IAQ Certificate at least Good Class |  |  |  |