| Credit Requirements: |  | 1 credit for independent local exhaust system(s) for all photocopy / printing rooms and other areas** indoor pollution is generated. |  |  |
| --- | --- | --- | --- | --- |
| Credit Attainable: |  |  | 1 |  |
| Credit anticipated for this submission: |  |  |  |  |
| Enclosure |  |  |  |  |
|  | Drawings, architectural, location, floor area, for pollutant sources (photocopy / printing rooms); |  |  |  |
|  | Drawings, engineering schematic, sections, layout indicating ductwork/fan exhaust system(s); |  |  |  |
|  | Drawings, engineering ductwork scale 1:50 indicating distance between exhaust and intake positions; |  |  |  |
|  | Records, T&C records with exhaust fan schedule, and controls; |  |  |  |
|  | Records, T&C record for exhaust rate of 2.5l/s/sqm, control panel, and power consumption; |  |  |  |
|  | Manufacturer’s catalogue, technical data sheet for exhaust fan(s); |  |  |  |
|  | Record Photographs, for site work, ductwork, fan, wiring, exhaust discharge point, and completed installation |  |  |  |
| ** Commercial Kitchens are excluded |  |  |  |  |