| Credit Requirements: |  | 1 credit for air leakage test using a non-balanced method and report envelope air tightness; |  |  |
| --- | --- | --- | --- | --- |
| Credit Attainable: |  |  | 1 |  |
| Credit anticipated for this submission: |  |  |  |  |
| Enclosure |  |  |  |  |
|  | Method statement, ASTM E779 testing |  |  |  |
|  | Drawings, architectural with floor plan, with location testing highlighted; |  |  |  |
|  | Records with result air leakage rates, report compliance with CIBSE TM23:2000 or equipment, fan, etc. used |  |  |  |
|  | Record Photographs with testing procedure, result taking |  |  |  |