| Credit Requirements: |  | A) Temperature 1 credit for demonstrating the air temperature within the project space is ±1.5 °C of the set temperature when the air side system is operating at steady state under normal occupied periods. B) Relative humidity 1 credit for demonstrating the relatively humidity within the project space is less than 70%. C) Air movement 1 credit for demonstrating the air movement within the project space is less than 0.3m/s. |  |  |
| --- | --- | --- | --- | --- |
| Credit Attainable: |  |  | 3 |  |
| Credit(s) anticipated for this submission: |  |  |  |  |
| Enclosure |  |  |  |  |
|  | Report with Method Statements for measurement |  |  |  |
|  | Records site measurements |  |  |  |
|  | Record Photographs for site measurement |  |  |  |
| Alternate IAQ Certificate |  |  |  |  |
|  | Certificate, valid Good Class IAQ certificate issued by EPD |  |  |  |