| Credit Requirements: |  | A) 1 credit for the uniformity at all workstations / working zone complies with CIBSE requirement B) 1 credit for glare index at all workstations / working zone complies with CIBSE requirement C) 1 credit for the colour rendering index at all workstations / working zone complies with CIBSE requirement |  |  |
| --- | --- | --- | --- | --- |
| Credit Attainable: |  |  | 3 |  |
| Credit(s) anticipated for this submission: |  |  |  |  |
| Enclosure |  |  |  |  |
|  | Summary table, indicating uniformity, glare index (by measurement or simulation), CRI |  |  |  |
|  | Drawings, architectural, with floor plan showing all workstations / working zone highlighted |  |  |  |
|  | Drawings, engineering, with layout plan, lighting installation highlighted |  |  |  |
|  | Records, manufacturer’s catalogue for lighting installed, and colour rendering index (CRI) |  |  |  |