| Credit Requirements: |  |  | Use Non chlorofluorocarbon (CFC)-based refrigerant for HVAC&R systems installed by the Applicant; |  |  |
| --- | --- | --- | --- | --- | --- |
| Credit Attainable: |  |  |  | Prerequisite |  |
| Enclosure |  |  |  |  |  |
|  | Summary table, HVAC&R equipment, refrigerant type, quantity, model no. |  |  |  |  |
|  | HVAC&R equipment schedule; |  |  |  |  |
|  | Manufacturer’s catalogue, technical data sheets for equipment refrigerant highlighted |  |  |  |  |
|  | Record Photographs with equipment, refrigerant, nameplate information highlighted |  |  |  |  |
| Alternative - HVAC&R not by the Applicant |  |  |  |  |  |
|  |  | Undertaking Letter, by BMO that no supplementary HVAC&R installed by Applicant |  |  |  |