| Credit Requirements: |  | 1 credit for providing quality potable water to referenced drinking water quality standards at all points of use; |  |  |
| --- | --- | --- | --- | --- |
| Credit Attainable: |  |  | 1 |  |
| Credit anticipated for this submission: |  |  |  |  |
| Enclosure |  |  |  |  |
|  | Summary table, with item, sample point, results for QWRS parameters |  |  |  |
|  | Drawings, engineering, plumbing schematic, layout drawings, sampling points highlighted |  |  |  |
|  | Records, laboratory test report for QWRS parameters for each sample point |  |  |  |
| Alternative 1 - Common Area, QWRS certificate |  |  |  |  |
|  | Certificate, QWRS for Host building Potable Water (Blue or higher grade certificate) |  |  |  |
|  | Certificate, QWRS for Host building Flushing Water Installation (Blue or higher grade certificate) |  |  |  |
| Alternative 2 - Common Area, Twin tank Installation |  |  |  |  |
|  | Drawings, plumbing schematic, layout for potable twin-tank system |  |  |  |
|  | Record Photographs, for twin-tank installation |  |  |  |