| Credit Requirements: | - Solar Orientation 1 credit point is awarded where the following requirements are fulfilled: - The combined façade area of south and north elevations contributes to 66% of the total façade area of the building(s); - The normal of the south and north facing façades must be within 22.5° of the geographical north / south axis; and - At least 25% of the number of buildings within the Site fulfil the above requirements. OR 2 credit points are awarded where the following requirements are fulfilled: - The combined façade area of south and north elevations contributes to 66% of the total façade area of the building(s); - The normal of the south and north facing façades must be within 22.5° of the geographical north / south axis; and - At least 50% of the number of buildings within the Site fulfil the above requirements. OR 2 credit points are awarded where the optimisation of site layout by building disposition / orientation to reduce solar radiation on the proposed building blocks within the Site is demonstrated. - Wind Environment 1 credit point is awarded where the building separation requirements stipulated in Appendix B of Buildings Department - PNAP APP-152 Sustainable Building Design Guidelines are complied with. OR 2 credit points are awarded where the optimisation of site layout by disposition and separation of building blocks to enhance wind environment and no pedestrian area will be subject to wind velocity caused by amplification due to the Project. |
| --- | --- |

| Project Name: | Enter project name |
| --- | --- |
| Project Code: | Enter project code |

| Credit point(s) attainable: | 4 |
| --- | --- |
| Credit point(s) anticipated for this submission: | Enter anticipated points |

- Solar Orientation

Combined façade area of south and north elevations: Enter area.m2

Total façade area of the building(s): Enter area.m2

Percentage of combined façade area of south and north elevations as of the total façade area of the building(s):

Enter Percentage.%

The normal of the south and north facing façades of the geographical north /south axis:  Enter degree. °

Total number of building block(s) within the Site	: Enter number of building block.

Total number of building block(s) complies with the credit requirement of EU 2a: Enter number of building block.

Percentage of building block(s) complies with the credit requirement of EU 2a: Enter Percentage.%

Has the Project Applicant conducted a site layout optimisation on disposition and separation of building blocks to reduce solar radiation on the proposed building blocks within the Site?

Yes or No.

- Wind Environment

Has the master layout plan met all the building separation requirements stipulated in Appendix B of Buildings Department - PNAP APP-152 Sustainable Building Design Guidelines?

Yes or No.

Has the Project Applicant conducted a site layout optimisation on disposition and separation of building blocks to enhance wind environment within the Site and demonstrate no pedestrian area will be subject to wind velocity caused by amplification due to the Project?

Yes or No.

Enclosures:

Please complete each item with a cross (☒);

- Solar Orientation

☐ 	Scale drawing(s) on an A3 size sheet showing existing and / or proposed street network and locations of all land lots and building blocks together with a north arrow, a suitable scale with a scale bar, and the areas which comply with the requirements.

☐ 	A façade area schedule, showing detailed calculation of the façade area and the orientation of all building elevations.

☐ 	A site layout optimisation report regarding the solar orientation, prepared by a suitably qualified person, in accordance with the credit requirement of EA 2a. The report should (i) make use of dynamic thermal modelling technique, testing both original / baseline and the proposed designs to determine fabric heat transfer and solar transmission of the proposed building blocks within the Site; and (ii) include improvement measures with a reduction in solar flux on each building block; and (iii) include the comparison of the original and improved masterplan designs.

☐ 	Other supporting documents, please specify.

Describe and list other supporting documents.

- Wind Environment

☐ 	A report, prepared by a suitably qualified person, that explains and details the compliance with the building separation requirement stipulated in Appendix B of Buildings Department - PNAP APP-152 Sustainable Building Design Guidelines.

☐ 	A site layout optimisation report regarding the wind environment, prepared by a suitably qualified person, in accordance with the credit requirement of EA 2b.  Computational Fluid Dynamics (CFD) is recommended to simulate the wind velocity, testing both original / baseline and proposed designs to demonstrate that no test point exceeds an average “hourly mean wind speed” of 4 m/s.

☐ 	Other supporting documents, please specify.

Describe and list other supporting documents.