| Project Name: |  |  |  |  |  |  |  |  |  |  | PA submission |  |  |  |  |  |  |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  | Project Code: |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | CIR Applied |  |  |  |  |  |  | Y |  |  | N |
|  |  |  |  |  |  |  |  |  |  | CIR Number |  |  |  |  |  |  |  |  |  |  |
| Extent of Application: | All buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Objectives: | Encourage early considerations for integrated building design process, buildability and operational issues to support holistic and cost-effective outcomes of building performance, human health and environmental benefits. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Credit Requirement: | (a) Early considerations for integrative building design process 1 credit for consideration of the integrated design process regarding whole-systems thinking to explore the interrelationships among green building design strategies and systems in conceptual design stage. 1 additional credit for organising at least one multi-disciplinary design charrette to formulate passive and active design strategies in conceptual/ schematic design stages. (b) Early design consideration of buildability/ constructability 1 credit for early design consideration of buildability to ease construction and save on-site materials/ labour before completion of design development stage. (c) Design consideration for operation and maintenance 1 credit for design considering the long-term operation and maintenance needs for the building and its engineering services. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Credit(s) Attainable: |  |  |  |  | 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Credit(s) anticipated for this submission: |  | - IDCM 3a - |  | 1 |  |  |  | 2 |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | - IDCM 3b - |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | - IDCM 3c - |  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Total - |  | 1 |  |  |  |  | 2 |  |  |  |  | 3 |  |  |  | 4 |  |  |

| COMPLIANCE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | IDCM 3a Early Considerations for Integrated Building Design Process |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | Exploration of interrelationships among green building design strategies and systems |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Compared sustainable design benefits and ball-park life cycle cost for at least one (1) baseline and two (2) design options: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | Baseline scheme with same development potential as the design options, is a design that conforms to statutory requirements |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | Design options (A) & (B) is design with different strategies in addressing issues as indicated below: |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | Site planning and Outdoor environmental quality |  | A | B | Built form/orientation and energy use/generation |  |  |  | A | B | Building envelope attributes and energy use |  | A | B |
|  |  |  |  |  |  | Air ventilation/ thermal comfort; |  |  |  | Cooling load reduction; |  |  |  |  |  | Cooling load reduction; |  |  |  |
|  |  |  |  |  |  | Landscaping; |  |  |  | Lighting load reduction; |  |  |  |  |  | Lighting load reduction; |  |  |  |
|  |  |  |  |  |  | Neighourhood daylight access; |  |  |  | Natural ventilation potential; |  |  |  |  |  | Natural ventilation potential; |  |  |  |
|  |  |  |  |  |  | Ecological value; |  |  |  | Renewable energy opportunities; |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | Climate resilience; |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Multi-disciplinary design charrette has been held before the completion of schematic design stage |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | has been held on |  |  |  |  | before the completion of SD stage on |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | has addressed issues as mentioned in the manual |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | IDCM 3b Early Design Consideration of Buildability / Constructability |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | construction management consultant |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | construction management consultant/ contractor is engaged |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | recommendations/ inputs by construction management consultant/ contractor has been reviewed/ adopted |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | [or] |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | design optimization of voids and complex form |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Percentage of high void to total building height is below 15% |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | total height of voids over 9m, measured by the clear heights between building structures (in m): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | total building height (in m): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Percentage of high void to total building height (in%): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | [or] |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Complexity of tower built form in terms of tilting, tapering, twisting or free form has been optimized |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Height of building (in m): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Maximum offset of the building measuring against the ground floor plate or any typical floor plate (in m): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Maximum percentage of total number of floors with offsets measured against the total number of floors of the building (in m): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | IDCM 3c Design Consideration for Operation and Maintenance |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | At least 5 O&M features will be provided*/ provided, including: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Building Management System (BMS); |  |  |  |  |  |  |  |  | Davit arm/ gondola system; |  |  |  |  |  |  |
|  |  |  |  | External pipe duct or pipe duct in communal areas; |  |  |  |  |  |  |  |  | Fall arrest system; |  |  |  |  |  |  |
|  |  |  |  | Maintenance workshop for facility management; |  |  |  |  |  |  |  |  | Movable working platform for maintenance; |  |  |  |  |  |  |
|  |  |  |  | Maintenance platform for building services installations; |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Access and safety provision for external air-conditioning at height without use of scaffolding; |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Others to be proposed by the Applicant, please specify: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Note: * applicable to PA stage submission only |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| SUBMITTALS |  |  |  |
| --- | --- | --- | --- |
| IDCM 3a Early Considerations for Integrated Building Design Process |  |  |  |
| Supporting Documents |  | PA | FA |
| IDCM_03_00 | BEAM Plus NB submission template for IDCM 3 |  |  |
| IDCM_03_01 | IDCM-03-1_Form |  |  |
| IDCM_03a_02 | Design review report on preliminary sustainable design benefits |  |  |
| IDCM_03a_03 | Multi-disciplinary design charrette report (if applicable) |  |  |

| IDCM 3b Early Design Consideration of Buildability / Constructability |  |  |  |
| --- | --- | --- | --- |
| Supporting Documents |  | PA | FA |
| IDCM_03_00 | BEAM Plus NB submission template for IDCM 3 |  |  |
| IDCM_03_01 | IDCM-03-1_Form |  |  |
| IDCM_03b_02 | For (1) Appointment letter of the construction management consultant or contractors |  |  |
|  | Correspondence or copy(ies) of meeting minute(s) with construction management consultant or contractors. |  |  |
|  | Report on adoption of construction management consultant’s (or contractors’) recommendations |  |  |
| IDCM_03b_03 | For (2), design report demonstrating optimisation of high voids and complex forms |  |  |
| IDCM_03b_04 | For (3), report with completed prescribed form to demonstrate compliance with 3s concept measures. [or] |  |  |
|  | Extracts of tender documents (e.g. specifications) specifying the requirements for 3s concept measures implementation (if applicable) |  |  |

| IDCM 3c Design Consideration for Operation and Maintenance |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Supporting Documents |  | PA |  | FA |  |
| IDCM_03_00 | BEAM Plus NB submission template for IDCM 3 |  |  |  |  |
| IDCM_03_01 | IDCM-03-1_Form |  |  |  |  |
| IDCM_03c_02 | Design report demonstrating the adoption of O&M features |  |  |  |  |
| IDCM_03c_03 | Dated photo records of the completed O&M features |  |  |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)