| Project Name: |  |  | PA submission |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Project Code: |  |  |  |  |
|  |  | CIR Applied |  | Y |  | N |
|  |  | CIR Number |  |  |  |  |

| Extent of Application | All buildings |
| --- | --- |

| Objective | Ensure the building systems perform as design specified and buildings operate as design intended. |
| --- | --- |

| Credit Requirement | 2 credits for demonstrating (a) the appointment of commissioning authority (CxA) before tender stage and (b) providing a commissioning plan. 1 credit for providing a commissioning review report before construction as described in part (c). 1 credit for providing commissioning reports as described in part (d) |
| --- | --- |

| Credit(s) Attainable | 4 |
| --- | --- |
| Credit(s) anticipated for this submission: |  |

COMPLIANCE

Please check the following boxes check the appropriate boxes with  :

| (a) CxA is appointed in the project. The personal fulfilled the below criteria: |  |
| --- | --- |
| - Professional Qualification (Chartered Engineer/ Registered Professional Engineer (RPE)/ MHKIE/ ASHRAE BCxP) |  |
| - At least 2 similar projects experience |  |
| - Independent from project design and construction management / supervision for the project |  |
| - Involved before the start of the Schematic Design stage |  |
| - Counterchecked the schematic design with design intent |  |
| (b) CxA developed a commissioning plan including the below content: |  |
| - Goals and objectives |  |
| - General project information |  |
| - Systems to be commissioned |  |
| - Description of the Commissioning team including team members, roles and responsibility |  |
| - Description of the Commissioning team communication protocol, coordination, meetings and management |  |
| - Development of systems functional test procedures for HVAC&R systems and associated controls, light and daylighting controls, domestic hot water systems, lift and escalator systems and renewable energy systems |  |
| - Verification of system performance |  |
| - Reporting deficiencies and the resolution process |  |
| - Acceptance of the building systems |  |
| (c) Commissioning Design Review Report with below content |  |
| - Before construction begins, develop commissioning requirements based on the systems included in the design and incorporate them into the construction documents. |  |
| - Commissioning specifications informing the contractors and/ or sub-contractors of their roles and responsibilities throughout the commissioning process. |  |
| - Before construction begins, review and document whether the system is designed in accordance to the design intent as acknowledged by the project owner. |  |
| (d) CxA provided a commissioning Report with the below content |  |
| - Executive summary of commissioning process and results, system deficiencies identified and resolution and outstanding issues. |  |
| - List of participants and their respective roles |  |
| - Brief building description |  |
| - Commissioning process scope |  |
| - Design review log |  |
| - Installation verification checklist |  |
| - List of systems commissioned |  |
| - Equipment documentation |  |
| - Functional performance tests including date and time of test, individuals present during testing, visual inspection observations, sensor checks, device checks, operating mode tests and results. |  |
| - List of outstanding commissioning issues and any testing that is scheduled for a later date |  |
| - All outstanding deficiencies identified during or as a result of commissioning activities should be listed and highlighted |  |

SUBMITTALS

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| IDCM_05_00 | BEAM Plus NB submission template for IDCM 5. |  |  |
| IDCM_05_01 | Specification on the scope of services of CxA. |  |  |
| IDCM_05_02 | Organisation Chart of the project team with CxA’s involvement and a brief description of the commissioning tasks. |  |  |
| IDCM_05_03 | CV of CxA to demonstrate adequate expertise of the CxA. |  |  |
| IDCM_05_04 | Commissioning Plan meeting the requirements with endorsement by CxA. |  |  |
| IDCM_05_05 | Commissioning specifications detailing the commissioning requirements for each system and equipment. |  |  |
| IDCM_05_06 | Endorsed commissioning review report to demonstrate all tasks in part (c) |  |  |
| IDCM_05_07 | Endorsed commissioning report to demonstrate all commissioning tasks fulfilling part (d) |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)