| Project Name: |  |  |  | PA submission |  | FA submission |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Project Code: |  |  |  |  |  |
|  |  |  | CIR Applied |  | Y |  | N |  |
|  |  |  | CIR Number |  |  |  |  |  |
| Extent of Application: | All areas for implementing a Construction IAQ Management Plan All areas with central air-conditioning and ventilation systems for undertaking a building ‘flush out’ or bake out’ and replacement of all filters prior to occupancy. |  |  |  |  |  |  |
| Objectives: | Ensure that ventilation systems are not contaminated from construction activities. |  |  |  |  |  |  |
| Credit Requirement: | 1 credit for implementing a Construction IAQ Management Plan, undertaking a building ‘flush out’ or ‘bake out’, and replacement of all filters prior to occupancy. |  |  |  |  |  |  |
| Credit(s) Attainable: |  | 1 |  |  |  |  |  |
| Credit(s) anticipated for this submission: |  |  |  |  |  |  |  |

| COMPLIANCE |  |
| --- | --- |
|  | A Construction IAQ Management Plan will be*/ is prepared. |
|  | Construction IAQ Management Plan will be*/ is implemented during indoor construction. |
|  | “Flush out” or “bake out” will be*/ is carried out prior to occupancy |
|  | All filters will be*/ are replaced prior to occupancy |
| Note: * applicable to PA stage submission only |  |

SUBMITTALS

| IDCM 9 Construction IAQ Management |  |  |  |  |
| --- | --- | --- | --- | --- |
| Supporting Documents |  | PA |  | FA |
| Note: For project which no indoor construction works have been carried out at PA stage, please fill in column [1] For project which indoor construction works carried out prior to PA, please fill in column [2] |  | [1] | [2] |  |
| IDCM_09_00 | BEAM Plus NB submission template for IDCM 9 |  |  |  |
| IDCM_09_01 | Construction IAQ Management Plan for indoor construction within the site |  |  |  |
| IDCM_09_02 | Any 3 monthly report(s) on the implementation of the Construction IAQ Management Plan during indoor construction period [or] |  |  |  |
|  | Extracts of tender documents, (e.g. specifications) specifying the requirements for the implementation of the Construction IAQ Management Plan (if applicable) |  |  |  |
| IDCM_09_03 | Report on filter replacement and flush out [or] |  |  |  |
|  | Extracts of tender documents (e.g. specifications) specifying the requirements for filter replacement and flush out (if applicable) |  |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)