| Project Name: |  |  |  | PA submission |  |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Project Code: |  |  |  |  |  |
|  |  |  | CIR Applied |  |  | Y |  | N |
|  |  |  | CIR Number |  |  |  |  |  |
| Extent of Application: | All buildings. |  |  |  |  |  |  |  |
| Objectives: | Ensure that exterior lighting and building design do not create unwanted and unnecessary light pollution. |  |  |  |  |  |  |  |
| Credit Requirement: | (a) Control of obtrusive artificial light 1 credit for demonstrating that obtrusive light from exterior lighting meets the specified performance for the environmental zone in which the building development is located. (b) Control of external light reflection from building 1 credit for demonstrating that sunlight reflection from external surfaces of the building development is controlled by using materials with proper external light reflectance. |  |  |  |  |  |  |  |
| Credit(s) Attainable: |  | 2 |  |  |  |  |  |  |
| Credit(s) anticipated for this submission: |  |  |  |  |  |  |  |  |

| COMPLIANCE |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | SS 6a Control of Obtrusive Artificial Light |  |  |  |  |  |  |
|  |  | Compliance in all relevant recommendations in the HKSAR Government's Guidelines on Industry Best Practices for External Lighting |  |  |  |  |  |
|  |  | All obtrusive light control requirements are will be*/ complied with using: |  |  |  |  |  |
|  |  |  | Calculation Method |  | BUG Method |  | Hybrid Method |
|  | SS 6b Control of External Light Reflection from Building |  |  |  |  |  |  |
|  |  | All glass on building facades and roof are of total external light reflectance ≤ 20% |  |  |  |  |  |
|  |  | 50% or more of materials (other than glass) on building facades and roof are of specular external light reflectance ≤ 10% |  |  |  |  |  |

SUBMITTALS

(a) Control of Obtrusive Artificial Light

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| SS_06a_00 | BEAM Plus NB submission template for SS 6 |  |  |
| SS_06a_01 | Scaled map showing immediate neighbourhood of the site for assessment |  |  |
| SS_06a_02 | External lighting layout plans |  |  |
| SS_06a_03 | Schedule of exterior lighting fixtures and lighting catalogues on performance data |  |  |
| SS_06a_04 | Light pollution calculation report [and/ or] |  |  |
|  | BUG method report |  |  |
| SS_06a_05 | Report on compliance of Guidelines on Industry Best Practices for External Lighting |  |  |

(b) Control of external light reflection from building

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| SS_06b_00 | BEAM Plus NB submission template for SS 6 |  |  |
| SS_06b_01 | Schedules or drawings on materials used on the external surfaces of the building development |  |  |
| SS_06b_02 | Some similar reference material catalogues/test reports showing their specular reflectance values to demonstrate the design intent for the proposed types and finishes of the surface materials; schedule of external materials and proposed finishes treatments, and tender specifications on the specular reflectance requirements of the materials |  |  |
| SS_06b_03 | Calculations for surface areas using different materials (other than glass) to demonstrate compliance in design stage and when the building is completed respectively |  |  |
| SS_06b_04 | Photos of building facade |  |  |
| SS_06b_05 | Catalogues or test reports confirming the relevant external light reflectances of materials used on the external surfaces of the building development |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)