| Project Name: |  |  |  | PA submission |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Project Code: |  |  |  |  |
|  |  |  | CIR Applied |  | Y |  | N |
|  |  |  | CIR Number |  |  |  |  |
| Extent of Application: | All buildings. |  |  |  |  |  |  |
| Objectives: | Encourage building design to adopt measures to mitigate urban heat effect. |  |  |  |  |  |  |
| Credit Requirement: | For Site area <1000m2 (a) Urban Design Guidelines Chapter 11 1 credit for implementing 2 site level strategies under Section 11 of Hong Kong Planning Standards and Guidelines Chapter 11 Urban Design Guidelines. For Site area ≥ 1000m2 (a) Sustainable Building Design Measures 1 credit for providing shade on at least 5% of the site area and, or at least 50% of non-roof impervious surfaces on the site (parking, walkways, plazas), whichever is larger using light coloured high-albedo materials (albedo of at least 0.4). 1 credit for demonstrating compliance with prescribed requirements of the SBD Guidelines as promulgated in the PNAP APP-152. 1 additional BONUS credit for demonstrating compliance with prescribed requirements for sustainable soft landscaping works and relevant prescriptive requirements of the SBD Guidelines as promulgated in the PNAP APP-152 with enhanced performances. (b) Tree Coverage 1 BONUS credit for demonstrating that at least 10% of the total Site Area is provided with tree coverage. For exemplary performance, additional BONUS credit where 20% or more of the site is provided with tree coverage. (c) Air Ventilation Assessment (AVA) For conducting an AVA by wind tunnel or Computer Fluid Dynamics (CFD) according to the prevailing AVA methodology introduced by the Government demonstrating that better or equivalent ventilation performances than a baseline case: 1 Credit for demonstrating annual wind condition 1 Credit for demonstrating summer wind condition. (d) Intra Urban Heat Island Study 1 BONUS credit for conducting an Intra Urban Heat Island Study demonstrating that a maximum Intra-Urban Heat Index (difference between Turban and Tmet) in summer is less than 0.8 °C. |  |  |  |  |  |  |
| Credit(s) Attainable: |  | For Site area < 1000m2: 1; For Site area ≥ 1000m2: 4 + 4 BONUS |  |  |  |  |  |
| Credit(s) anticipated for this submission: |  |  |  |  |  |  |  |

| COMPLIANCE |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | The Project Site area is < 1000m2 |  |  |  |  |  |  |
|  |  | 2 or more site level strategies under Section 11 of Hong Kong Planning Standards and Guidelines Chapter 11 Urban Design Guidelines will be*/ are implemented, including: |  |  |  |  |  |
|  | The Project Site area is ≥ 1000m2 |  |  |  |  |  |  |
|  | - Sustainable Building Design Measures |  |  |  |  |  |  |
|  |  |  |  | Shade on at least 5% of the site area and at least 50% of non-roof impervious surfaces on the site (parking, walkways, plazas) using light coloured high-albedo materials (albedo of at least 0.4) will be*/ are provided. |  |  |  |
|  |  |  |  | Prescribed requirements of the SBD Guidelines as promulgated in the PNAP APP-152 will be*/ are complied with. |  |  |  |
|  |  |  |  | Prescribed enhanced performances of the SBD Guidelines as promulgated in the PNAP APP-152 will be*/ are complied with. |  |  |  |
|  | - Tree Coverage |  |  |  |  |  |  |
|  |  |  | 10% or more of the total Site Area is provided with tree coverage. |  |  |  |  |
|  |  |  | 20% or more of the total Site Area is provided with tree coverage. |  |  |  |  |
|  | - Air Ventilation Assessment (AVA) |  |  |  |  |  |  |
|  |  |  | Better or equivalent annual wind condition will be*/ is demonstrated |  |  |  |  |
|  |  |  | Better or equivalent annual summer condition will be*/ is demonstrated |  |  |  |  |
|  | - Intra Urban Heat Island Study |  |  |  |  |  |  |
|  |  |  | Intra Urban Heat Index = Max [T(t)urban – T(t)met] |  | : |  | < 0.8 |

SUBMITTALS

- Sustainable Building Design Measures

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| For SS 8a(i), please provide the followings: |  |  |  |
| SS_08a_00 | BEAM Plus NB submission template for SS 8 |  |  |
| SS_08a_01 | Scale drawings and calculations to demonstrate compliance with the relevant prescriptive requirements of the light coloured high-albedo materials on non-roof impervious surfaces. |  |  |
| SS_08a_02 | Reference material catalogues/test reports showing albedo values to demonstrate the design intent for the proposed types and finishes of the surface materials regarding the albedo requirements of the materials. |  |  |
| SS_08a_03 | A schedule of external materials, their proposed finishes treatments, and albedo requirements of the materials. |  |  |
| SS_08a_04 | Tender specifications on the albedo requirements of the materials |  |  |
| For SS 8a(2)& (3), please provide the followings: |  |  |  |
| SS_08a_05 | Scaled drawings and calculations to demonstrate compliance with relevant prescriptive requirements of the SBD Guidelines (for SS 8a(ii) and/ or (iii) only) |  |  |
| For SS 8a(3), please provide the followings: |  |  |  |
| SS_08a_06 | Landscape plans, sections planting schedules and extracts of relevant supporting documents showing soft landscape layout, plan density, topsoil of all planted areas for trees, shrubs and grass/groundcover and demonstrating the use of drought-tolerant plant species |  |  |
| SS_08a_07 | Live load calculation of roof (if planting is provided on the roof) |  |  |
| SS_08a_08 | Maintenance plan of the greenery | - |  |
| SS_08a_09 | Dated photos of the as-built soft landscape works | - |  |

- Tree Coverage

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| SS_08b_01 | Landscape plans, sections planting schedules and extracts of relevant supporting documents showing the soft landscape layout of all planted areas for trees, live load calculation of roof (if planting is provided on the roof) and maintenance plan. |  |  |
| SS_08b_02 | Summary for the total and breakdowns of tree coverage areas and evidence for tree diameters prediction |  |  |
| SS_08b_03 | Live load calculation of roof (if tree planting is provided on the roof) |  |  |
| SS_08b_04 | Maintenance plan of the trees | - |  |
| SS_08b_05 | Dated photos of the as-built soft landscape works | - |  |

- Air Ventilation Assessment (AVA)

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| For compliance route 1, please provide the followings: |  | PA | FA |
| SS_08c_01 | Air Ventilation Assessment Report |  |  |
| SS_08c_02 | Validation Report of the simulation software |  |  |
| SS_08c_03 | CV of chartered engineer with required experience |  |  |
| For compliance route 2, please provide the followings: |  | PA | FA |
| SS_08c_04 | Wind Tunnel Test Report |  |  |

- Intra Urban Heat Island Study

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| SS_08d_01 | Intra-urban Heat Island Study report |  |  |
| SS_08d_02 | CV of chartered engineer with required experience |  |  |
| SS_08d_03 | Landscape plans, sections planting schedules and extracts of relevant supporting documents showing soft landscape layout of all planted areas for trees |  |  |
| SS_08d_04 | Summary for the total and breakdowns of tree coverage areas and evidence for tree diameters prediction |  |  |
| SS_08d_05 | Validation Report of the simulation software |  |  |
| SS_08d_06 | Dated photos of the as-built soft landscape works | - |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)