| Project Name: |  |  |  |  | PA submission |  |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Project Code: |  |  |  |  |  |
|  |  |  |  | CIR Applied |  |  | Y |  | N |
|  |  |  |  | CIR Number |  |  |  |  |  |
| Extent of Application: | All buildings |  |  |  |  |  |  |  |  |
| Objectives: | Reduce the release of harmful ozone-depleting substances into the atmosphere. |  |  |  |  |  |  |  |  |
| Credit Requirement: | (a) Refrigerants 1 credit for the use of refrigerants with a value less than or equal to the threshold of the combined contribution to ozone depletion and global warming potentials using the specified equation. (b) Ozone depleting materials 1 credit for the use of products in the building fabric and services that avoid using ozone depleting substances in their manufacture, composition or use. |  |  |  |  |  |  |  |  |
| Credit(s) Attainable: |  |  | 2 |  |  |  |  |  |  |
| Credit(s) anticipated for this submission: |  |  |  |  |  |  |  |  |  |

| COMPLIANCE |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | MW 7a Refrigerants |  |  |  |  |  |
|  |  | Combined contributions to ozone depletion and global warming potentials |  |  |  |  |
|  |  | [ Σ (LCGWP + LCODP x 105) x Qunit ] / Qtotal : | : |  |  | ≤ 13 |
|  | MW 7b Ozone Depleting Materials |  |  |  |  |  |
|  |  | Use no building fabric/ services using ozone depleting substances in their manufacture, composition or use |  |  |  |  |

SUBMITTALS

- Refrigerants

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| MW_07_00 | Submission template for MW 7 |  | - |
| MW_07a_01 | Specifications specifying the use of refrigerants |  | - |
| MW_07a_02 | Summary table with equipment details, refrigerant employed, ozone depleting potential and global warming potential |  |  |
| MW_07a_03 | Endorsed calculations showing the global warming potential and ozone depletion potential of the refrigerants |  |  |
| MW_07a_04 | Equipment schedule of HVAC&R equipment showing the refrigerants employed | - |  |
| MW_07a_05 | Catalogues of HVAC&R equipment showing the refrigerants employed | - |  |
| MW_07a_06 | Catalogues of refrigerants or statement from manufacturer demonstrating that the products are free from CFC and HCFC | - |  |

- Ozone depleting materials

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| MW_07_00 | Submission template for MW 7 |  | - |
| MW_07b_01 | Specifications specifying the use of insulation materials |  | - |
| MW_07b_02 | Endorsed summary table with insulation material details, manufacturer, blowing agent and fire retardant | - |  |
| MW_07b_03 | Catalogues of insulation materials or statement from manufacturer demonstrating that the products are free from CFC and HCFC | - |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)