| Project Name: |  |  | PA submission |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Project Code: |  |  |  |  |
|  |  | CIR Applied |  | Y |  | N |
|  |  | CIR Number |  |  |  |  |

| Extent of Application | All Buildings |
| --- | --- |

| Objective | Reduce the consumption of non-renewable energy resources and the consequent harmful emissions of Carbon dioxide (CO2) to the atmosphere demonstration of achievement by Option 1: Performance Path: Whole building energy simulation; OR Option 2: Prescriptive Path: Compliance approach. |
| --- | --- |

| Credit Requirement | Select one of the compliance paths described below. Option 1 – Performance Path (1-10 Credits + 5 Bonus) Demonstrate a percentage of reduction on annual CO2 emission of the proposed building performance compared with the baseline case performance. 1 to 10 credits for annual CO2 emission reduction by the following saving percentages: Option 2 – Prescriptive Path (1‐7 Credits) Demonstrate a prescriptive compliance in below listed item. Residential buildings and non-residential buildings should follow different path. For building consist of both residential and non-residential parts, demonstrate the compliance for all requirements as listed for both residential and non-residential targeted credit score in all path. 1) Passive Building Design Enhancement 1.1 Building Envelope a) Residential buildings & Residents’ Recreational Facilities (RRF) b) All non-residential buildings 1.2 Natural Ventilation a) Residential buildings b) All non-residential buildings 2) Active System Design Improvement Demonstrate further performance improvement as compared with the Building Energy Codes (BEC) 2018 [3] 2.1 For each air-conditioning equipment: 2.2 Lighting System Lighting power of lighting installation in whole building by areaweighted method as compared with the BEC 2018 code [3]: 2.3 Lift and escalator installation (N/A for building with No Lift & Escalators) |
| --- | --- |

| Credit(s) Attainable | 10 + 5 BONUS |
| --- | --- |
| Credit(s) anticipated for this submission: |  |

COMPLIANCE

Please select ALL the relevant categories for the project:

| BEC Governing |  | Non BEC Governing |  |
| --- | --- | --- | --- |
| - Commercial Building |  | - Residential Unit |  |
| - A portion of a composite building that is not for residential or industrial use |  | - Industrial Building |  |
| - Hotel and Guesthouse |  | - Data Centre |  |
| - Common area of a Residential Building |  | - Carpark |  |
| - Common area of a portion of a composite building that is for residential or industrial use |  | - Other: ___________________ |  |
| - Building that is occupied principally for an education purpose |  |
| - Building that is occupied principally as a community building |  |
| - Building that is occupied principally for medical and health care services |  |
| - Building that is owned by the Government and used principally for the accommodation of people during the performance of any function of the Government |  |
| - Passenger Terminal Building or an Airport |  |
| - Railway Station |  |

Please select the Path and points to achieve:

| Path | Targeted Achievement | Credit to achieve |  |
| --- | --- | --- | --- |
| Path 1 | Targeted Percentage of Reduction of Annual Co2 emission |  |  |
|  | 3% | 1 |  |
|  | 5% | 2 |  |
|  | 7% | 3 |  |
|  | 9% | 4 |  |
|  | 11% | 5 |  |
|  | 13% | 6 |  |
|  | 15% | 7 |  |
|  | 17% | 8 |  |
|  | 19% | 9 |  |
|  | 21% | 10 |  |
|  | 23% | 10 + 1 BONUS |  |
|  | 25% | 10 + 2 BONUS |  |
|  | 27% | 10 + 3 BONUS |  |
|  | 29% | 10 + 4 BONUS |  |
|  | 31% | 10 + 5 BONUS |  |
| Path 2 | (a) Passive Building Design Enhancement |  |  |
|  | OTTV / RTTV Improvement Residential – RTTV improve 5% Non Residential – OTTV improve 5% | 0.5 |  |
|  | OTTV / RTTV Improvement Residential – RTTV improve 10% Non Residential – OTTV improve 10% | 1 |  |
|  | Natural Ventilation requirement Residential – 20% of habitable areas Non-residential – 9.5% of Net occupied floor area | 1 |  |
|  | Natural Ventilation requirement Residential – 40% of habitable areas Non-residential – 12.5% of Net occupied floor area | 2 |  |
|  | (b) Active Building Design Enhancement |  |  |
|  | Each air-conditioning equipment Improvement – 3% | 1 |  |
|  | Each air-conditioning equipment Improvement – 6% | 2 |  |
|  | Lighting Improvement – 5% | 0.5 |  |
|  | Lighting Improvement – 10% | 1 |  |
|  | Lift and escalator – 20% | 1 |  |

SUBMITTALS

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| Option 1 – Performance Path |  |  |  |
| EU_2(Path1)_00 | BEAM Plus NB submission template for EU 2 Path 1 |  |  |
| EU_2(Path1)_01 | EU-2-1 Form |  |  |
| EU_2(Path1)_02 | Endorsed Building Performance Assessment Report |  |  |
| EU_2(Path1)_03 | CV of the professional as per requirements in the assessment |  |  |
| EU_2(Path1)_04 | Building Energy Report |  |  |
| EU_2(Path1)_05 | Input and Output Simulation report which is generated from simulation software |  |  |
| EU_2(Path1)_06 | Supporting documents for input, based on project development status, including: - OTTV/RTTV calculation sheet based on the requirements of Buildings Department [11] for baseline and proposed case - Indoor design criteria from project team highlighting indoor thermal condition, occupancy density, fresh air flow rate requirement, internal load, equipment load and ventilation rate - Indoor design criteria from project team highlighting indoor thermal condition, occupancy density, fresh air flow rate requirement, internal load, equipment load and ventilation rate - System and equipment specification - All selected air-conditioning equipment highlighting COP, cooling/ heating capacity and flow rate as well as energy recovery appliance - All selected lift and escalator highlighting capacity, motor power and energy saving control system - All selected water heater (if applicable) highlighting installed power - Pre-input calculation for modelling, including: - Simplified Fan Power input - Lighting Power Density |  |  |
| Option 2 – Prescriptive Path |  |  |  |
| EU_2(Path2)_00 | BEAM Plus NB submission template for EU 2 Path 2 |  |  |
| EU_2(Path2)_01 | EU-2-2 Form |  |  |
| EU_2(Path2)_03 | Endorsed Prescriptive approach summary report |  |  |
| EU_2(Path2)_04 | CV of the professional as per requirements in the assessment |  |  |
| EU_2(Path2)_05 | Supporting documents for report calculation, based on project development status, including: - RTTV / OTTV calculation sheet based on the requirements of Buildings Department [12] and the corresponding improvement - Air-conditioning equipment specifications with COP at full load - Lighting Power density improvement calculation - Lighting schedule highlighting installed luminaires types - Representative Lighting Layout drawing - Lift and escalator reduction calculation - Lift and escalator location markup on drawing plan - Lift and escalator specification |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)