| Project Name: |  |  | PA submission |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Project Code: |  |  |  |  |
|  |  | CIR Applied |  | Y |  | N |
|  |  | CIR Number |  |  |  |  |

| Extent of Application | All Buildings |
| --- | --- |

| Objective | Encourage energy conservation and methods to reduce peak electricity demand. |
| --- | --- |

| Credit Requirement | 1 to 3 credits for peak electricity demand reduction by the following saving percentage: |
| --- | --- |

| Credit(s) Attainable | 3 |
| --- | --- |
| Credit(s) anticipated for this submission: |  |

COMPLIANCE

Please select the Route and points to achieve:

| Path | Targeted Achievement |  |  | Credit to achieve |  |
| --- | --- | --- | --- | --- | --- |
| Attempt EU2 Path 1 | Targeted Percentage of Reduction of Annual Co2 emission |  |  |  |  |
|  | 5% |  |  | 1 |  |
|  | 10% |  |  | 2 |  |
|  | 15% |  |  | 3 |  |
| Attempt EU2 Path 2 | Achieved 4 or 7 credit points in EU2 – Path 2 |  |  | 1 or 2* |  |
|  | 1.1 Building Envelope | 0.5 / 1* |  |  |  |
|  | 1.2 Natural Ventilation | 1 / 2* |  |  |  |
|  | 2.1 Enhancement in Air-conditioning Equipment | 1 / 2* |  |  |  |
|  | 2.2 Enhancement in Lighting System | 0.5 / 1* |  |  |  |
|  | 2.3 Enhancement in Lift and Escalator Installation | 1 |  |  |  |

* Please cross out the inappropriate achievement points in EU2 – Path 2

SUBMITTALS

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| Option 1 – Performance Path |  |  |  |
| EU_03(Path1)_00 | BEAM Plus NB submission template for EU 3 |  |  |
| EU_03(Path1)_01 | Endorsed Building Peak Electricity Demand report |  |  |
| EU_03(Path1)_02 | Input and Output Simulation report which is generated from simulation software |  |  |
| EU_03(Path1)_03 | Supporting documents for input, based on project development status, including: - OTTV/ RTTV calculation sheet based on the requirements of Buildings Department [1] for baseline and proposed case - Indoor design criteria from project team highlighting indoor thermal condition, occupancy density, fresh air flow rate requirement, internal load, equipment load and ventilation rate - Indoor design criteria from project team highlighting indoor thermal condition, occupancy density, fresh air flow rate requirement, internal load, equipment load and ventilation rate - System and equipment specification - All selected air-conditioning equipment highlighting COP, cooling/ heating capacity and flow rate as well as energy recovery appliance - All selected lift and escalator highlighting capacity, motor power and energy saving control system - All selected water heater (if applicable) highlighting installed power - Pre-input calculation for modelling, including: c) Simplified Fan Power input Lighting Power Density Light Power Density |  |  |
| EU_03(Path1)_04 | CV of the professional as per requirements in the assessment |  |  |
| Option 2 – Prescriptive Path |  |  |  |
| EU_03(Path2)_00 | BEAM Plus NB submission template for EU 3 |  |  |
| EU_03(Path2)_01 | Endorsed EU3 achievement summary with indication of EU2 prescriptive approach achievement |  |  |
| EU_03(Path2)_02 | CV of the professional as per requirements in the assessment |  |  |
| EU_03(Path2)_03 | Endorsed prescriptive approach summary report in EU2 |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)