| Project Name: |  |  | PA submission |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Project Code: |  |  |  |  |
|  |  | CIR Applied |  | Y |  | N |
|  |  | CIR Number |  |  |  |  |

| Extent of Application | All buildings using window or split-type air conditioners |
| --- | --- |

| Objective | Ensure the installation of air-conditioning units provides for near optimum performance. |
| --- | --- |

| Credit Requirement | (a) Compliance with manufacturer’s recommendation 1 credit for complying with manufacturer’s recommended installation positions for optimal heat rejection. (b) Performance verification 1 credit for demonstrating the operating temperatures of all window type, split-type or packaged type air-conditioning units do not exceed manufacturer’s recommendation for the specified COP in the manufacturer’s technical specifications via computational simulation techniques. |
| --- | --- |

| Credit(s) Attainable | 2 |
| --- | --- |
| Credit(s) anticipated for this submission: |  |

COMPLIANCE

Please list the space equipped window or split-type air conditioners:

| Space Number | Equipped Space Type | Equipment number (List the number that tally with equipment schedule) |
| --- | --- | --- |
| S1 | Residential Unit |  |
| S2 | Commercial Development |  |
| S3 | Institutional |  |
| S4 | Industrial |  |
| S5 | Building Management Office |  |
| S6 | Guard Room |  |
| S7 | Plant Room |  |
| S8 | Other: |  |
| S9 | Other: |  |

(a) Compliance with manufacturer’s recommendation

Please filled in the blanks and confirm that the assessment requirement is met by checking the box with .

| Space Number | AC Unit Installed |  | AC Platform Provided |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Wall Separation Complied [From Wall, From other units and from air-intake side] | Refrigerant Pipe-length Complied | The three (3) manufacturer brand name used for justification | Wall Separation Complied [From Wall, From other units and from air-intake side] | Refrigerant Pipe-length Complied |
| S1 |  |  |  |  |  |
| S2 |  |  |  |  |  |
| S3 |  |  |  |  |  |
| S4 |  |  |  |  |  |
| S5 |  |  |  |  |  |
| S6 |  |  |  |  |  |
| S7 |  |  |  |  |  |

(b) Performance verification

Please confirm that the following requirement is met by checking the box with .

| CFD Report is provided to demonstrate that ALL air-conditioning unit in the project complied with the manufacturer’s recommended operative temperature. |  |
| --- | --- |

SUBMITTALS

(a) Compliance with manufacturer’s recommendation

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| EU_6(a)_00 | BEAM Plus NB submission template for EU 6a |  |  |
| EU_6(a)_01 | Equipment schedules of window and/or split-type air-conditioners |  |  |
| EU_6(a)_02 | Schematics showing the location of window and/or split-type air-conditioners |  |  |
| EU_6(a)_03 | Specifications of air-conditioning units |  |  |
| EU_6(a)_04 | Representing manufacture information used to demonstrate the AC platform justification |  |  |
| EU_6(a)_05 | Layout plans showing the location of window and/or split-type air-conditioners platforms to illustrate that the 3 separation criteria listed can be met |  |  |
| EU_6(a)_06 | Catalogue of air-conditioning units |  |  |
| EU_6(a)_07 | Manufacturer’s installation details for the 3 separation criteria listed above |  |  |

(b) Performance verification

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| EU_6(b)_00 | BEAM Plus NB submission template for EU 6b |  |  |
| EU_6(b)_01 | Simulation report |  |  |
| EU_6(b)_02 | CV of the professional as per requirements in the assessment |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)