| Project Name: |  |  | PA submission |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Project Code: |  |  |  |  |
|  |  | CIR Applied |  | Y |  | N |
|  |  | CIR Number |  |  |  |  |

| Extent of Application | Residential buildings |
| --- | --- |

| Objective | Encourage greater use of natural resources in place of gas or electrical energy for clothes drying purposes. |
| --- | --- |

| Credit Requirement | (a) Provision of clothes drying facilities 1 credit for providing permanent clothes drying facilities provision for all residential units under suitable location conditions. (b) Demonstration of Effectiveness 1 BONUS for demonstrating the effectiveness of permanent clothes drying facilities via computational analysis. |
| --- | --- |

| Credit(s) Attainable | 1 + 1 BONUS |
| --- | --- |
| Credit(s) anticipated for this submission: |  |

COMPLIANCE

(a) Provision of clothes drying facilities

Please confirm that the following requirement is met by checking the box with .

| All permanent clothes drying facilities provision are protected from water droplets and debris falling from higher level |  |
| --- | --- |
| All permanent clothes drying facilities provision are not adversely affected by air pollutants, and are located - 0.5m horizontal distance away from air-conditioning units - 1.5m horizontal distance away from kitchen exhaust operable windows |  |

(b) Demonstration of effectiveness

Please confirm that the following requirement is met by checking the box with .

| All permanent cloths drying facilities are exposed to 1 Hours (with 5-minute reporting interval) of direct solar exposure in winter solstice |  |
| --- | --- |
| All permanent clothes drying facilities are exposed to a minimum 0.5m/s wind velocity under winter prevailing wind. |  |

SUBMITTALS

(a) Provision of Clothes Drying Facilities

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| EU_7(a)_00 | BEAM Plus NB submission template for EU 7a |  |  |
| EU_7(a)_01 | Layout plans to show location of clothes drying facilities with respect to air conditioning plant |  |  |
| EU_7(a)_02 | Layout plans to show location of clothes drying facilities with respect to kitchen vents |  |  |
| EU_7(a)_03 | Section to demonstrate the falling protections for the cloth drying facilities |  |  |
| EU_7(a)_04 | A formal letter of instruction from the developer to require clothes drying facilities |  |  |
| EU_7(a)_05 | On-site photo records of installed clothes drying facilities |  |  |

(b) Demonstration of effectiveness

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| EU_7(b)_00 | BEAM Plus NB submission template for EU 7b |  |  |
| EU_7(b)_01 | CV of professional as described in credit requirement |  |  |
| EU_7(b)_02 | Endorsed computational analysis report |  |  |
| EU_7(b)_03 | On-site photo records of installed clothes drying facilities |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)