| Project Name: |  |  | PA submission |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Project Code: |  |  |  |  |
|  |  | CIR Applied |  | Y |  | N |
|  |  | CIR Number |  |  |  |  |

| Extent of Application | All buildings |
| --- | --- |

| Objective | Reduce the consumption of potable water through the application of water saving devices that have proven performance and reliability. |
| --- | --- |

| Requirement | Demonstrate that the use of water efficient flow devices leads to an estimated annual saving of 10%. |
| --- | --- |

Please check the applicable box with .

| Is the prerequisite achieved? | Y | N |
| --- | --- | --- |

COMPLIANCE

Please complete WU-P1-1_Form and fill in the below table.

| Total annual potable water use (baseline) / L | Total annual potable water use (design) / L | Annual potable water percentage saving / % |
| --- | --- | --- |

If the project consists of residential kitchen(s), please complete WU-P1-2_Form.

SUBMITTALS

| Supporting Documents Please provide softcopies with filename prefix as indicated on the leftmost column below. |  | PA | FA |
| --- | --- | --- | --- |
| WU_P1_00 | BEAM Plus NB submission template for WU P1 |  |  |
| WU_P1_01 | WU-P1-1_Form |  |  |
| WU_P1_02 | WU-P1-2_Form |  |  |
| WU_P1_03 | General Building Plan (GBP) highlighting the sanitary fitting schedule and the male to female ratio |  |  |
| WU_P1_04 | Schematic drawing(s) and plumbing layout drawings, highlighting the tanks, pump(s), PRV(s), flow controllers, mPD level, operating pressure per floor, primary piping routes |  |  |
| WU_P1_05 | Calculation summary of potable water |  |  |
| WU_P1_06 | Specifications of each type of fixture counted in the calculation, including the to substantiate the flow rate values used in the design case |  |  |
| WU_P1_07 | Catalogues of each type of fixture counted in the calculation, including the flow rate curve and resultant flow rate to substantiate the flow rate values used in design case |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)