| Project Name: |  |  | PA submission |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Project Code: |  |  |  |  |
|  |  | CIR Applied |  | Y |  | N |
|  |  | CIR Number |  |  |  |  |

| Extent of Application | All Buildings |
| --- | --- |

| Objective | To identify water leakage once detected for the arrangement of maintenance work |
| --- | --- |

| Credit Requirement | 1 credit for installing water leakage detection systems in all municipal potable water tank rooms |
| --- | --- |

| Credit(s) Attainable | 1 |
| --- | --- |
| Credit(s) anticipated for this submission: |  |

COMPLIANCE

Please complete Form WU-4-1.

Please confirm that the following requirements are met by checking the box with .

| The detection systems should have the capability to alert the operation station or the security station and identify the room with leakage when leakage is detected. |  |
| --- | --- |

SUBMITTALS

| Supporting Documents. |  | PA | FA |
| --- | --- | --- | --- |
| WU_04_00 | BEAM Plus NB submission template for WU 4 |  |  |
| WU_04_01 | WU-4-1_Form |  |  |
| WU_04_02 | Plumbing schematic drawing(s) and plumbing layout drawings, highlighting the provisions of water leakage detection systems in all water tank rooms |  |  |
| WU_04_03 | Commissioning data of water leakage detection systems in all water tank rooms |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)