| Project Name: |  |  | PA submission |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Project Code: |  |  |  |  |
|  |  | CIR Applied |  | Y |  | N |
|  |  | CIR Number |  |  |  |  |

| Extent of Application | All Buildings |
| --- | --- |

| Objective | Encourage harvesting of rainwater and recycling of grey water in order to reduce consumption of potable water. |
| --- | --- |

| Credit Requirement | (a) Harvested Rainwater 1 credit for harvesting of rainwater that achieve a reduction of 5% or more in the consumption of potable water. (b) Recycled Grey Water 1 credit for recycled grey water that achieve a reduction of 5% of more in the consumption of potable water. (c) Exemplary water recycling 1 BONUS credit where harvested rainwater, recycled grey water or a combination of both leads to a reduction of 10% of more in the consumption of potable water. |
| --- | --- |

| Credit(s) Attainable | 2 + 1 BONUS |
| --- | --- |
| Credit(s) anticipated for this submission: |  |

COMPLIANCE

(a) Harvested rainwater

Please complete WU-8-1_Form and fill in the below table.

| Annual potable water replaced by harvested rainwater (L) |  |
| --- | --- |
| Annual potable water use for irrigation (L) – figure should be consistent with WU 2 design case, excluding manual irrigation and before deducting any reused / recycled water |  |
| Annual potable water use for irrigation and flushing (L) – figure should be consistent with WU 7 before deducting any reused / recycled water |  |
| Annual potable water use for water features, car washing, external cleaning, fire-fighting and industrial processes (only if harvested rainwater is used for the activity) (L) |  |
| Percentage reduction in potable water use replaced by harvested rainwater (%) |  |

Please confirm that the following requirement is met by checking the box with .

| All collection tank(s) has sufficient capacity. |  |
| --- | --- |

For FA submission only:

Please complete WU-8-2_Form.

Please confirm that the following requirement is met by checking the box with .

| The harvested rainwater, after treatment, meet the recommended water quality standards prescribed in Table 1-1 in the WSD Technical Specifications. |  |
| --- | --- |

(b) Recycled grey water

Please complete WU-8-3_Form and fill in the below table.

| Annual potable water replaced by recycled grey water (L) |  |
| --- | --- |
| Annual potable water use for irrigation (L) – figure should be consistent with WU 2 design case, excluding manual irrigation and before deducting any reused / recycled water |  |
| Annual potable water use for irrigation and flushing (L) – figure should be consistent with WU 7 before deducting any reused / recycled water |  |
| Annual potable water use for water features, car washing, external cleaning, fire-fighting and industrial processes (only if recycled grey water is used for the activity) (L) |  |
| Percentage reduction in potable water use replaced by recycled grey water (%) |  |

Please confirm that the following requirement is met by checking the box with .

| All collection tank(s) has sufficient capacity. |  |
| --- | --- |

For FA submission only:

Please complete WU-8-4_Form.

Please confirm that the following requirement is met by checking the box with .

| The recycled grey water, after treatment, meet the recommended water quality standards prescribed in Table 1-1 in the WSD Technical Specifications. |  |
| --- | --- |

(c) Exemplary water recycling

Please fill in the below table.

| Annual potable water replaced by harvested rainwater (L) |  |
| --- | --- |
| Annual potable water replaced by recycled grey water (L) |  |
| Annual potable water use for irrigation (L) – figure should be consistent with WU 2 design case, excluding manual irrigation and before deducting any reused / recycled water |  |
| Annual potable water use for irrigation and flushing (L) – figure should be consistent with WU 7 before deducting any reused / recycled water |  |
| Annual potable water use for water features, car washing, external cleaning, fire-fighting and industrial processes (only if harvested rainwater and/or recycled grey water is used for the activity) (L) |  |
| Percentage reduction in potable water use replaced by harvested rainwater and/or recycled grey water (%) |  |

SUBMITTALS

- Harvested rainwater

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| WU_8a_00 | BEAM Plus NB submission template for WU 8a |  |  |
| WU_8a_01 | WU-8-1_Form |  |  |
| WU_8a_02 | WU-8-2_Form |  |  |
| WU_8a_03 | Calculation of reduction in demand of potable water from rainwater harvesting system |  |  |
| WU_8a_04 | Landscape plan including the total landscape area (distinguish between communal greenery and private garden if applicable) and area break-down according to irrigation method or controller used |  |  |
| WU_8a_05 | Catchment area plan including area break-down, type of surface and surface coefficient adopted |  |  |
| WU_8a_06 | Plumbing schematic drawing (s) and plumbing layout drawings |  |  |
| WU_8a_07 | Rainwater harvesting system schematic drawing(s) |  |  |
| WU_8a_08 | Commissioning data of rainwater systems |  |  |
| WU_8a_09 | Water quality measurement protocol |  |  |
| WU_8a_010 | Water quality measurement report |  |  |

- Recycled grey water

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| WU_8b_00 | BEAM Plus NB submission template for WU 8b |  |  |
| WU_8b_01 | WU-8-3_Form |  |  |
| WU_8b_02 | WU-8-4_Form |  |  |
| WU_8b_03 | Calculation of reduction in demand of potable water from grey water system |  |  |
| WU_8b_04 | WSD standard plumbing schematic drawing (s) and plumbing layout drawings, highlighting the grey water recycling system |  |  |
| WU_8b_05 | Commissioning data of grey water systems |  |  |
| WU_8b_06 | Water quality measurement protocol |  |  |
| WU_8b_07 | Water quality measurement report |  |  |

- Exemplary water recycling

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| WU_8c_00 | BEAM Plus NB submission template for WU 8c |  |  |
| WU_8c_01 | WU-8-1_Form |  |  |
| WU_8c_02 | WU-8-2_Form |  |  |
| WU_8c_03 | WU-8-3_Form |  |  |
| WU_8c_04 | WU-8-4_Form |  |  |
| WU_8c_05 | Calculation of reduction in demand of potable water from rainwater harvesting system |  |  |
| WU_8c_06 | Landscape plan including the total landscape area (distinguish between communal greenery and private garden if applicable) and area break-down according to irrigation method or controller used |  |  |
| WU_8c_07 | Catchment area plan including area break-down, type of surface and surface coefficient adopted |  |  |
| WU_8c_08 | Calculation of reduction in demand of potable water from grey water system |  |  |
| WU_8c_09 | WSD standard plumbing schematic drawing (s) and plumbing layout drawings, highlighting the rainwater harvesting system and the grey water recycling system (if applicable) |  |  |
| WU_8c_10 | Commissioning data of rainwater and grey water systems |  |  |
| WU_8c_11 | Water quality measurement protocol |  |  |
| WU_8c_12 | Water quality measurement report |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)