| Project Name: |  |  | PA submission |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Project Code: |  |  |  |  |
|  |  | CIR Applied |  | Y |  | N |
|  |  | CIR Number |  |  |  |  |

| Extent of Application | All buildings |
| --- | --- |

| Objective | (a) Measure outdoor air pollutants on-site prior to design to under the site condition (b) Demonstrate the project is in compliance with the minimum ventilation quantity with respective to ventilation mode. |
| --- | --- |

| Requirement | (a) Measure outdoor air pollutants on-site prior to building design to understand the site condition (b) Demonstrate the project is in compliance with the minimum ventilation quantity with respective to its designed ventilation mode. |
| --- | --- |

Please check the applicable box with .

| Is the prerequisite achieved? | Y | N |
| --- | --- | --- |

COMPLIANCE

(a) On-site outdoor air quality

Please complete Form HWB-P1-1.

(b) Minimum Ventilation

Please complete Form HWB-P1-2.

SUBMITTALS

- On-site Outdoor Air Quality

| Supporting Documents Please provide softcopies with filename prefix as indicated on leftmost column below. |  | PA | FA |
| --- | --- | --- | --- |
| HWB_P1a_00 | BEAM Plus NB submission template for HWB P1a |  |  |
| HWB_P1a_01 | HWB-P1-1_Form |  |  |
| HWB_P1a_02 | Rectifying plan describing the design of air purification strategies if air quality is not achieved |  |  |
| HWB_P1a_03 | HKIAS endorsed report showing measurements of all required outdoor air pollutants |  |  |

- Minimum Ventilation

| Supporting Documents Please provide softcopies with filename prefix as indicated on leftmost column below. |  | PA | FA |
| --- | --- | --- | --- |
| HWB_P01_00 | BEAM Plus NB submission template for HWB P1b |  |  |
| HWB_P01_01 | HWB-P1-2_Form |  |  |
| HWB_P01b_02 | Schedule of all spaces present in the building |  |  |
| HWB_P01b_03 | Report demonstrating compliance with the minimum ventilation rate stipulated in ASHRAE Standard 62.1-2016 in all mechanically ventilated normally occupied spaces |  |  |
| HWB_P01b_04 | MVAC fan schedule, air side schematics |  |  |
| HWB_P01b_05 | MVAC layout plan |  |  |
| HWB_P01b_06 | Floor plan highlighting primary openings location that provided in all naturally ventilated normally occupied rooms (applicable to natural ventilation prescriptive path only) |  |  |
| HWB_P01b_07 | Window Schedule and primary openings information that provided in all naturally ventilated normally occupied rooms (applicable to natural ventilation prescriptive path only) |  |  |
| HWB_P01b_08 | Calculation of ratio of the total area of the primary openings provided in the room to the floor area of the room (applicable to natural ventilation prescriptive path only) |  |  |
| HWB_P01b_09 | Natural ventilation report (applicable to natural ventilation performance path only) |  |  |
| HWB_P01b_10 | CV of the professional as per requirements in the assessment (for performance path only) |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)