| Project Name: |  |  | PA submission |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Project Code: |  |  |  |  |
|  |  | CIR Applied |  | Y |  | N |
|  |  | CIR Number |  |  |  |  |

| Extent of Application: |  |  |  | All buildings. |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Objectives: |  |  |  | Encourage well integrated weather protection and user-friendliness in the building design for outdoor or semi-outdoor communal / private space design at various levels of a building. |  |  |
| Credit Requirement: |  |  |  | - Universal Accessibility 1 credit for providing at least ten (10) applicable enhanced provisions as stipulated in the “Recommended Design Requirements” of BFA 2008. - Weather Protection and Family Friendly Features 1 BONUS credit for providing prescribed weather protection and at least two (2) family friendly facilities features. |  |  |
| Credit(s) Attainable: |  |  |  |  | 1 + 1 BONUS |  |
| Credit(s) anticipated for this submission: |  |  |  |  |  |  |
| COMPLIANCE |  |  |  |  |  |  |
|  | HWB 3a Universal Accessibility |  |  |  |  |  |
|  |  | 10 or more applicable enhanced provisions as stipulated in the “Recommended Design Requirements” of BFA 2008 will be*/ provided: |  |  |  |  |
|  | HWB 3b Weather protection and family friendly features |  |  |  |  |  |
|  |  | Weather protection |  |  |  |  |
|  |  |  | Weather protection features against wind-driven rain for all covered semi-outdoor communal areas within the building will be*/ are provided. |  |  |  |
|  |  | Family friendly features |  |  |  |  |
|  |  |  | At least one shaded rest areas with seating for care-takers near play equipment for children. This accounts for 1 inclusive design feature. |  |  |  |
|  |  |  | At least one water closet for children or family in each male and female or stand-alone toilet with seat height in the range of 310 mm to 380 mm for communal use. This accounts for 1 inclusive design feature. |  |  |  |
|  |  |  | At least one baby-care facilities / breast feeding room in the communal areas of the building. This accounts for 1 inclusive design feature. |  |  |  |

SUBMITTALS

| (a) Universal Accessibility |  |  |  |
| --- | --- | --- | --- |
| Supporting Documents Please provide softcopies with filename prefix as indicated on leftmost column below. |  | PA | FA |
| HWB_03_00 | BEAM Plus NB submission template for HWB 3 |  |  |
| HWB_03a_01 | Specifications specifying the design measures |  |  |
| HWB_03a_02 | Drawings showing design measures and/or amenity features |  |  |
| HWB_03a_03 | Report showing justifications and details for each design measures and/or amenity features provided |  |  |
| HWB_03a_04 | Catalogues/ information of design measures provided OR Photograph |  |  |

| (b) Weather Protection and Family Friendly Features |  |  |  |
| --- | --- | --- | --- |
| Supporting Documents Please provide softcopies with filename prefix as indicated on leftmost column below. |  | PA | FA |
| HWB_03_00 | BEAM Plus NB submission template for HWB 3 |  |  |
| HWB_03b_01 | Specification specifying the design measures |  |  |
| HWB_03b_02 | Drawings showing design measures and/or amenity features |  |  |
| HWB_03b_03 | Report showing justifications and details for each design measures and/or amenity features provided |  |  |
| HWB_03b_04 | Catalogues/ information of design measures provided OR Photograph |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)