| Project Name: |  |  | PA submission |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Project Code: |  |  |  |  |
|  |  | CIR Applied |  | Y |  | N |
|  |  | CIR Number |  |  |  |  |

| Extent of Application | All buildings |
| --- | --- |

| Objective | Maintain effective ventilation and prevent exposure to concentrated indoor pollutant sources to support occupants’ health and wellbeing |
| --- | --- |

| Credit Requirement | (a) Fresh Air Provision 1.1 Fresh air provision in normally occupied spaces 1 credit for demonstrating that all normally occupied spaces in the building are provided with increased ventilation. 1.2 Fresh air provision in not normally occupied spaces 1 credit for demonstrating that all not normally occupied spaces in the building are provided with adequate ventilation. 1.3 On-site measurements 1 additional BONUS credit for conducting on-site measurements to verify the ventilation performance for all normally occupied spaces. (b) Exhaust Air 1 credit for the provision of an effective ventilation system for spaces where significant indoor pollution sources are generated. |
| --- | --- |

| Credit(s) Attainable | 3 + 1 additional BONUS |
| --- | --- |
| Credit(s) anticipated for this submission: |  |

COMPLIANCE

(a) Fresh air provision

(i) Fresh air provision in normally occupied spaces

Please complete Form HWB-4-1.

(ii) Fresh air provision in not normally occupied spaces

Please complete Form HWB-4-2.

(iii) On-site measurements

For PA submission only:

Please confirm that the following requirement is met by checking the box with .

| A measurement protocol which includes the proposed measurement locations and methodology is prepared. |  |
| --- | --- |

For FA submission only:

Please complete Form HWB-4-3.

(b) Exhaust air

Please complete Form HWB-4-4.

SUBMITTALS

- Fresh Air Provision

| Supporting Documents Please provide softcopies with filename prefix as indicated on leftmost column below. |  | PA | FA |
| --- | --- | --- | --- |
| HWB_4_00 | BEAM Plus NB submission template for HWB 4a |  |  |
| HWB_4a_01 | HWB-4-1_Form |  |  |
| HWB_4a_02 | HWB-4-2_Form |  |  |
| HWB_4a_03 | HWB-4-3_Form |  |  |
| HWB_4a_04 | Schedule of all spaces present in the building |  |  |
| HWB_4a_05 | Mechanical Ventilation Report (Applicable to parts 1.1 and 1.2) |  |  |
| HWB_4a_06 | Natural Ventilation Report (Applicable to parts 1.1 and 1.2) |  |  |
| HWB_4a_07 | CV of the professional as per requirements in the assessment (Applicable to parts 1.1 and 1.2) |  |  |
| HWB_4a_08 | MVAC fan schedule and air side schematics (Applicable to parts 1.1 and 1.2) |  |  |
|  | MVAC equipment catalogue |  |  |
| HWB_4a_09 | MVAC layout plan |  |  |
| HWB_4a_10 | Testing and commissioning reports (Applicable to parts 1.1 and 1.2) |  |  |
| HWB_4a_11 | Measurement methodology (Applicable to part 1.3) |  |  |
| HWB_4a_12 | Measurement results (Applicable to part 1.3) |  |  |

- Exhaust Air

| Supporting Documents Please provide softcopies with filename prefix as indicated on leftmost column below. |  | PA | FA |
| --- | --- | --- | --- |
| HWB_4_00 | BEAM Plus NB submission template for HWB 4b |  |  |
| HWB_4b_01 | HWB-4-4_Form |  |  |
| HWB_4b_02 | Schedule of all spaces present in the building |  |  |
| HWB_4b_03 | Schedule of all spaces provided with local exhaust, highlighting the exhaust rate |  |  |
| HWB_4b_04 | Design criteria reference |  |  |
| HWB_4b_05 | MVAC fan schedule and air side schematics |  |  |
|  | MVAC equipment catalogue |  |  |
| HWB_4b_06 | MVAC layout plan |  |  |
| HWB_4b_07 | Testing and commissioning reports |  |  |
| HWB_4b_08 | Dated photographs for all installed equipment |  |  |
| HWB_4b_09 | Measurement methodology (if applicable) |  |  |
| HWB_4b_10 | Measurement results (if applicable) |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)