| Project Name: |  |  | PA submission |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Project Code: |  |  |  |  |
|  |  | CIR Applied |  | Y |  | N |
|  |  | CIR Number |  |  |  |  |

| Extent of Application | All buildings |
| --- | --- |

| Objective | To reduce nuisance caused by odour leaving enclosed waste disposal and recycling spaces |
| --- | --- |

| Credit Requirement | 1 credit for installing odour sensor at all discharge points from enclosed waste disposal and recycling spaces |
| --- | --- |

| Credit(s) Attainable | 1 |
| --- | --- |
| Credit(s) anticipated for this submission: |  |

COMPLIANCE

Please complete Form HWB-5-1.

Please confirm that the following requirement is met by checking the box with .

| The sensors should have the capability to alert the operation station or the security station and identify the room when 5 odour units based on an averaging time of 5 seconds is detected. |  |
| --- | --- |

SUBMITTALS

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| HWB_5_00 | BEAM Plus NB submission template for HWB 5 |  |  |
| HWB_5_01 | HWB-5-1_Form |  |  |
| HWB_5_01 | Drawing showing the location of refuse rooms (RCP, RS&MRC and RS&MRR). |  |  |
| HWB_5_02 | MVAC drawings highlighting the odour sensor; OR Endorsed design proposal |  |  |
| HWB_5_03 | Control Diagram for the sensors alert system; OR Endorsed design proposal |  |  |
| HWB_5_04 | Catalogues of odour sensor OR catalogues of proposed equipment |  |  |
| HWB_5_05 | Testing and Commissioning report of the odour alert system |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)