| Project Name: |  |  | PA submission |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Project Code: |  |  |  |  |
|  |  | CIR Applied |  | Y |  | N |
|  |  | CIR Number |  |  |  |  |

| Extent of Application | All buildings for part (a) All buildings with enclosed and/ or semi-enclosed car park of areas more than 10% of Construction Floor Area for part (b). |
| --- | --- |

| Objective | Demonstrate that airborne contaminants do not give rise to unacceptable levels of air pollution in the building |
| --- | --- |

| Credit Requirement | (a) Indoor Air Quality in Occupied Spaces Demonstrate compliance in one of the following paths: - Path 1 2 credits for demonstrating compliance with the prescribed limits for Carbon monoxide (CO), Nitrogen dioxide (NO2), Ozone (O3), Carbon dioxide (CO2), Respirable suspended particulates (PM10), Total volatile organic compounds (TVOCs), Formaldehyde (HCHO) and Radon (Rn) in the sampled occupied spaces. 1 credit for demonstrating compliance with the prescribed limits for Airborne bacteria and conduct the Mould assessment in the sampled occupied spaces. - Path 2 3 credits for submitting a valid IAQ Certification Scheme (Good Class) certificate issued by the Environmental Protection Department (EPD) covering the whole building. 1 additional BONUS if Excellent Class is achieved. (b) Air Quality in Car Park 1 credit for demonstrating compliance with the pollutant concentration limits specified in ProPECC PN 2/96. |
| --- | --- |

| Credit(s) Attainable | 4 + 1 additional BONUS |
| --- | --- |
| Credit(s) anticipated for this submission: |  |

COMPLIANCE

(a) Indoor air quality in occupied spaces

Please check the applicable box with .

The credit is achieved via:

Route 1

Route 2

Route 3

Part (b) Air quality in car park

Please check the applicable boxes with .

| Construction floor area (m2) |  |
| --- | --- |
| Enclosed and/or semi-enclosed car park area (m2) |  |
| Enclosed and/or semi-enclosed car park area as a percentage construction floor area (%) |  |

If the percentage exceeds 10%, please fill in Form HWB-8-2.

SUBMITTALS

- Indoor Air Quality in Occupied Spaces

| Supporting Documents. |  | PA | FA |
| --- | --- | --- | --- |
| HWB_8_00 | BEAM Plus NB submission template for HWB 8a |  |  |
| HWB_8a_01 | HWB-8-1_Form |  |  |
| HWB_8a_02 | HWB-8-3_Form |  |  |
| HWB_8a_03 | Specification for CIB to endorsed IAQ measurement methodology |  |  |
|  | CIB endorsed IAQ measurement methodology |  |  |
| HWB_8a_04 | CIB endorsed IAQ test reports |  |  |
| HWB_8a_05 | Valid certificate issued by the Environmental Protection Department (EPD) covering the whole building (only for alternative path) |  |  |

- Air Quality in Car Park

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| HWB_8_00 | BEAM Plus NB submission template for HWB 8b |  |  |
| HWB_8b_01 | HWB-8-2_Form |  |  |
| HWB_8b_02 | Estimation of the peak pollutant loading in car park |  |  |
| HWB_8b_03 | Car park ventilation report (not applicable to naturally ventilated car park) with pollution calculation |  |  |
| HWB_8b_04 | Car park floor plans highlighting location of CO sensors (not applicable to naturally ventilated car park) |  |  |
| HWB_8b_05 | Control logic of car park ventilation (not applicable to naturally ventilated car park) |  |  |
| HWB_8b_06 | On-site car park air quality measurement protocol (not applicable to mechanically ventilated car park) |  |  |
| HWB_8b_07 | Endorsed test reports of air quality in car park (not applicable to mechanically ventilated car park) |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)