| Project Name: |  |  | PA submission |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Project Code: |  |  |  |  |
|  |  | CIR Applied |  | Y |  | N |
|  |  | CIR Number |  |  |  |  |

| Extent of Application | All buildings |
| --- | --- |

| Objective | Ensure that buildings and systems are tested practicable and the specified thermal comfort conditions can be achieved under conditions of normal occupancy and expected heat gains. |
| --- | --- |

| Credit Requirement | (a) Thermal Comfort Analysis 2 credits for conducting thermal comfort analysis and demonstrate that normally occupied spaces can fulfil the thermal comfort requirements. (b) Thermal Comfort Measurement 1 additional BONUS credit for conducting on-site measurements to verify the thermal comfort performance. |
| --- | --- |

| Credit(s) Attainable | 2 + 1 additional BONUS |
| --- | --- |
| Credit(s) anticipated for this submission: |  |

COMPLIANCE

- Thermal Comfort Analysis

Please complete Form HWB-9-1 and confirm that the following requirement is met by checking the box with .

| All normally occupied spaces can fulfil the thermal comfort requirement |  |
| --- | --- |

- Thermal Comfort Measurement

Please complete Form HWB-9-1 and confirm that the following requirement is met by checking the box with .

| 9a will be/ is* attempted and the comfort requirement is complied |  |
| --- | --- |
| On-site verification measures is conducted and the performance is verified* |  |

Note: * applicable to FA submission only

SUBMITTALS

- Thermal Comfort Analysis

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| HWB_9_00 | BEAM Plus NB submission template for HWB 9 |  |  |
| HWB_9_01 | Form-9-1 |  |  |
| HWB_9a_02 | Endorsed Thermal Comfort Analysis Report |  |  |
| HWB_9a_03 | CV of the professional as per requirements in the assessment |  |  |

- Thermal Comfort Measurement

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| HWB_9_00 | BEAM Plus NB submission template for HWB 9 |  |  |
| HWB_9_01 | HWB-9-1_Form |  |  |
| HWB_9b_02 | Thermal Comfort Measurement Report |  |  |
| HWB_9b_02 | CV of the professional as per requirements in the assessment |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)