## Summary
BEAM Plus Existing Buildings (Version 2.1) Credit Summary Selective Scheme - Indoor Environmental Quality (IEQ)
General Instruction: Please complete ALL cells that are highlighted in yellow.
BEAM Plus Project No:
Project Name:
1. | Project Description:
2. | Credit Summary
| Section | Credit Requirement | Exclusions | Credit Attainable | Credit Applicable | Credit Anticipated
Y/N?
IEQ 1 | Building User Satisfaction Survey on Indoor Comfort | 1 credit for conducting building user satisfaction survey to collect anonymous responses regarding the indoor environmental quality regularly, or, at a minimum conduct the survey within 1 year at the time of submission. | None. | 1 | Y
|  | 1 credit for demonstrating the survey covered the aspects of hygiene, IAQ, ventilation, thermal comfort, lighting quality, and aural environment. |  | 1 | Y
|  | 1 credit for implementing a complaint response and action system for continual improvement of indoor comfort. |  | 1 | Y
IEQ 2 | Minimum Ventilation Performance | a) Fresh Air Intakes 1 credit for demonstrating the fresh air intakes are free from potential pollutant sources. | Residential. | 1 | Y
|  | b) Ventilation for Normally Occupied Areas and Common Areas 2 credits for providing adequate ventilation for the normally occupied areas. i. 1 credit for 80% area compliance; and ii. 2 credits for 100% area compliance. | None. | 2 | Y
|  | 1 credit for providing adequate ventilation for 80% of common areas in a building. | None. | 1 | Y
IEQ 3 | Localised Ventilation | Maximum 3 credits for providing adequate ventilation for the following rooms/ areas with significant indoor pollution sources: i. Toilets; ii. Kitchens; iii. Printing/ Photocopier rooms; iv. Chemical storage areas; and v. Other relevant area. | None. | 3 | Y
IEQ 4 | Thermal Comfort | 1 credit for demonstrating the air temperature within the air-conditioned space is in the range of 24 – 26°C during April to October. | Premises without any air-conditioning provisions. | 1 | Y
|  | 1 credit for demonstrating the relatively humidity within the air-conditioned space is in the range of 40 – 70% during April to October. |  | 1 | Y
|  | 1 credit for demonstrating the air velocity within the air-conditioned space is <0.3 m/s. |  | 1 | Y
IEQ 5 | Biological Contamination | Maximum 3 credits for demonstrating compliance with the Operation and Maintenance Precautions recommended in the Code of Practice – Prevention of Legionnaires Disease, for the following systems: i. Components in Air-Conditioning System except Cooling Tower; ii. Plumbing and Drainage System; iii. Hot Water System; iv. Fountains; and v. Pools. (Note: Credit(s) can be excluded for buildings with less than 3 of the listed systems.) | None | 1 | Y
|  |  |  | 1 | Y
|  |  |  | 1 | Y
|  | 1 credit for maintaining water trapping of the floor drain. |  | 1 | Y
IEQ 6 | Waste Disposal Facilities | 3 credits for providing de-odourising system in refuse storage or materials recovery area. i. 1 credit for provision at main refuse storage and material recovery chambers (RS&MRC); and ii. 2 credits for provisions at all other rooms designated for refuse storage or materials recovery. | None. | 3 | Y
IEQ 7 | Control of Environmental Tobacco Smoke | 1 credit for implementing no smoking policy outside the building except in designated smoking areas. | None. | 1 | Y
IEQ 8 | IAQ Monitoring | Maximum 9 credits for demonstrating compliance with appropriate criteria for indoor pollutant levels, for following parameters: i. Carbon Dioxide; ii. Carbon Monoxide; iii. Respirable Suspended Particulate; iv. Nitrogen Dioxide; v. Ozone; vi. Formaldehyde; vii. Total Volatile Organic Compounds; viii. Radon; and ix. Bacteria. | None. | 9 | Y
|  | 1 credit for obtaining Excellent Class for the IAQ Certification Scheme for Offices and Public Places. |  | 1 | Y
|  | 1 credit for demonstrating the continuous participation in the ‘Indoor Air Quality Certification Scheme for Office and Public Place’ for past 3 consecutive years. |  | 1 | Y
IEQ 9 | IAQ in Car Parks | 2 credits for complying with the recommended CO and NO2 level as stipulated in ProPECC PN 2/96. | Buildings without carpark or with carpark area less than 10% of construction floor area. | 2 | Y
IEQ 10 | Interior Lighting | 1 credit for conducting site illuminance measurement. | None. | 1 | Y
|  | Maximum 3 credits for achieving the prescribed lighting performance in each type of premises, regarding the illuminance and lighting quality as listed below: i. Maintained illuminance and illuminance uniformity; ii. Achieving the limiting unified glare rating; and iii. Light sources with an appropriate colour rendering index. |  | 3 | Y
|  | 2 credits for fulfilling the above requirement in tenant’s area. i. 1 credit for assessing not less than 25% of area; and ii. 2 credits for assessing not less than 50% of area. |  | 2 | Y
|  | 1 credit for providing automatic control of artificial lighting such as daylight sensors at perimeter zones and/or occupancy sensor. |  | 1 | Y
|  | 1 credit for providing individual control of a small group of artificial lighting. |  | 1 | Y
IEQ 11 | Background Noise | 1 credit for demonstrating background noise levels from both external sources and building services equipment are within the prescribed criteria. | Buildings/ premises which are inherently noisy. | 1 | Y
IEQ 12 | Room Acoustics | 1 credit for demonstrating that the mid-frequency reverberation time in applicable rooms meets the prescribed criteria of different types of premises. | Buildings/ premises in which speech intelligibility is not important, and rooms of special acoustical nature. | 1 | Y
IEQ 13 | Noise Isolation | 1 credit for demonstrating airborne noise isolation between rooms, spaces and premises fulfils the prescribed criteria. | Buildings/ premises which are inherently noisy and unaffected by noise. | 1 | Y
IEQ 14 | Vibration | a) Vibration Isolation Devices 1 credit for providing vibration isolation devices for building services equipment. | None. | 1 | Y
|  | b) Vibration Level 1 credit for vibration levels not exceeding the prescribed criteria. |  | 1 | Y
IEQ 15 | Achievement of IAQwi$e Certificate | 1 credit for obtaining the valid IAQwi$e Certificate of Hong Kong Green Organisation Certification (HKGOC). | None. | 1 | Y
IEQ 16 | Educational and Promotional Programme | 2 credits for Building Owner/ Building Management Company to educate and advocate the behavioural change of building users in respect of Indoor Environmental Quality by: i. Organising educational seminar/ promotion campaign; or ii. Promoting or participating in Hong Kong Green Building Week organised by Construction Industry Council (CIC) and the Hong Kong Green Building Council Limited (HKGBC). | None. | 2 | Y
IEQ 17 | Innovative Techniques/ Performance Enhancements | a) Innovative Techniques 1 Bonus credit for applying innovation technique in respect of Indoor Environmental Quality that will improve the performance of the building. | None. | 1B | Y
|  | b) Performance Enhancements 1 Bonus credit for building with exemplary performance over and above the criteria identified in Indoor Environmental Quality of the BEAM Plus for Existing Buildings. | None. | 1B | Y
Credit Applicable:
Credit Anticipated:
Percentage of credits achieved:
Grade: