| EFB No.: | EFB-A11a |
| --- | --- |
| EFB Name.: | Lift Car Seating |
| Category: | A. Mobility and Accessibility |
| Extent of Application: | Common Lifts, Escalators and Passenger Conveyors |
| Recommended Design Requirements: | Resting facilities such as folding seats or lean on railings should be provided within the lift cars except fireman’s lifts. |
| Assessment Criteria: | - Resting facilities (e.g. permeant seats, folding seats, lean on railings, etc.) shall be provided. - Movable seating is accepted if the owner or facility management team commits to providing it as a long-term provision within the lift car. - At least one lift serving all floors, excluding those that serve only plant rooms and back-of-house areas, shall comply with the requirement. - Fireman lift is exempted for assessment. |
| Submittals: | - EFB-A11a_01 Provide drawing(s) to identify: - The lift(s) that serving all floors. |
|  | - EFB-A11a_02 Provide drawing(s) and/ or sample photo(s) to demonstrate: - Resting facilities are provided. |
|  | - EFB- A11a _03 - Declaration signed by a representative of the Applicant (refer to Appendix A). |
| Reference: | Reference: Elderly-friendly Design Guidelines, Architectural Services Department, HKSAR |

At least one set of photos shall be provided for each building in the project, with measurements of the relevant dimensional requirements clearly shown in the photos where applicable.

Representative of the Applicant is defined as: (i) Building Owner; (ii) Applicant of this certification; (iii) Representative from the facility management company