| EFB No.: | EFB-A12b |
| --- | --- |
| EFB Name.: | Control Buttons at Lift Car |
| Category: | A. Mobility and Accessibility |
| Extent of Application: | Common Lifts, Escalators and Passenger Conveyors |
| Recommended Design Requirements: | Lift control buttons in the lift cars should be back-lit. |
| Assessment Criteria: | - The control buttons inside of the lift car shall be back-lit. - At least one lift serving all floors, excluding those that serve only plant rooms and back-of-house areas, shall comply with the requirement. - Compliance in the fireman lift will be considered acceptable for assessment. |
| Submittals: | - EFB-A12b_01 Provide drawing(s) to identify: - The lift(s) that serving all floors. |
|  | - EFB-A12b_02 Provide drawing(s) and/ or sample photo(s) to demonstrate: - The lift buttons inside of the lift car are back lit. |

At least one set of photos shall be provided for each building in the project, with measurements of the relevant dimensional requirements clearly shown in the photos where applicable.