| EFB No.: | EFB-A13a |
| --- | --- |
| EFB Name.: | Escalators and Passenger Conveyors Speed |
| Category: | A. Mobility and Accessibility |
| Extent of Application: | Common Lifts, Escalators and Passenger Conveyors |
| Recommended Design Requirements: | Escalators and passenger conveyors should be designed with slower speed. |
| Assessment Criteria: | - Escalators and passenger conveyors shall have maximum speeds of 0.5 m/s and 0.75 m/s respectively. - The escalators/ passenger conveyors shall be designed with adjustable speed capability. - If more than 1 pair of escalators (e.g. two escalators positioned side by side operating in opposite directions) are provided on each floor, at least one pair of escalators shall comply with the requirement. |
| Submittals: | - EFB-A13a_01 Provide drawing(s) to identify: - The location(s) of the escalators and passenger conveyors operating at a slower speed. |
|  | - EFB-A13a_02 - Declaration signed by a representative of the Applicant (refer to Appendix A). |

Representative of the Applicant is defined as: (i) Building Owner; (ii) Applicant of this certification; (iii) Representative from the facility management company