| EFB No.: | EFB-A14b |
| --- | --- |
| EFB Name.: | Common Toilet Faucet Handles |
| Category: | A. Mobility and Accessibility |
| Extent of Application: | Common Toilets and WC Cubicles |
| Recommended Design Requirements: | Lever-type controls and handles should be used. Knob handles, push operated and self-closing type faucet controls should be avoided. A sample is provided below. Reference: Design Manual: Barrier Free Access 2008, Buildings Department, HKSAR |
| Assessment Criteria: | - All faucets shall be: - Equipped with lever-type handles; or - Sensor controlled for automatic operation. |
| Submittals: | - EFB-A14b_01 Provide drawing(s) and/ or sample photo(s) and/ or catalogue(s) to demonstrate: - All faucets are either equipped with lever-type handles or are sensor-controlled for automatic operation. |
| Reference: | Examples of knob handles, self-closing push operated type faucet controls which should be avoided |

At least one set of photos shall be provided for each building in the project, with measurements of the relevant dimensional requirements clearly shown in the photos where applicable.