| EFB No.: | EFB-A16a |
| --- | --- |
| EFB Name.: | Signage at Common Areas |
| Category: | A. Mobility and Accessibility |
| Extent of Application: | Common Areas and Facilities |
| Recommended Design Requirements: | Signages Bright primary colours should be used as contrast or highlight for easier differentiation. Monotone colour should be avoided. Colour combination of signs such as yellow figure on black background or white figure on blue background is recommended. In addition to colour contrasts, clear signs with bigger font size should be provided for elderly-friendly facilities and floor numbering. |
| Assessment Criteria: | - Clear and concise information on floor levels and wayfinding directions to essential facilities (if applicable), including toilets, lifts, escalators and public transport stations, etc. shall be provided. - High colour contrast between text, pictograms, and the background shall be provided to enhance legibility for all users. - Simple fonts with a minimum text height suitable for the intended viewing distance shall be provided, as specified in the following table: Reference: Curating Homes: A Guide to Residential Design for Ageing in Place, CUHK Jockey Club Institute of Ageing - Solid-coloured pictograms (not line drawings) with simple and clear designs shall be provided to improve visibility and ensure ease of interpretation. - A combination of capital and lowercase lettering for English text shall be provided, as it is easier to enhance readability compared to all uppercase letters. |
| Submittals: | - EFB-A16a_01 Provide drawing(s) and/ or sample photo(s) to demonstrate: - The signages provided are designed with high colour contrast between text, pictograms, and background; - The font and pictogram sizes comply with the prescribed requirements; - Pictograms are designed with simple and clear solid colours. - English text using a combination of capital and lowercase lettering. |
| Reference: | Examples of simple, clear, and easy-to-understand pictograms Examples of line-based pictograms that may be challenging for elderly individuals to read |

In general, elderly may become less sensitive to colours having shorter wavelengths (blues, greens and violets) as their lens thickens and yellows with age. Warm colours with longer wavelengths (reds, oranges and yellows) are easier for them to differentiate.