| EFB No.: | EFB-A16b |
| --- | --- |
| EFB Name.: | Wayfinding at Common Areas |
| Category: | A. Mobility and Accessibility |
| Extent of Application: | Common Areas and Facilities |
| Recommended Design Requirements: | Wayfinding Different colours for different building blocks, floor levels, zonings or areas of different functional purposes are recommended to aid wayfinding. Different floor surfaces or colours should be considered for tactile/ visual cues for navigation. Noticeable features, artworks, landmarks such as sculptures, plants, or fountains should be provided at different entrances, zonings and facilities for easy identification. |
| Assessment Criteria: | - Different colours shall be provided to distinguish between building blocks, floor levels, zones, or areas with different functional purposes to aid navigation. - Different floor surfaces or colours shall be incorporated to provide tactile or visual cues that support navigation, especially for users with visual impairments. - Noticeable features such as artworks, landmarks, sculptures, plants, or fountains shall be provided at key locations, including entrances, zonings, and facilities, to facilitate easy identification and orientation. |
| Submittals: | - EFB-A16b_01 Provide drawing(s) and/ or sample photo(s) to demonstrate: - Different colour themes are used to distinguish between various areas; - Different floor surfaces or colours are implemented to enhance navigation; - Noticeable features are incorporated at key locations. |