| EFB No.: | EFB-A2a |
| --- | --- |
| EFB Name.: | Residential Bathroom Doorways |
| Category: | A. Mobility and Accessibility |
| Extent of Application: | Residential Units’ Bathrooms |
| Recommended Design Requirements: | Doorways of not less than 850 mm should be provided to allow a wheelchair to pass through. |
| Assessment Criteria: | - At least 20% of the residential units shall comply with the requirement. - A minimum width of at least 850 mm shall be provided in the bathroom(s). - If more than 1 bathroom is provided in the unit, at least 1 of the bathrooms shall fulfil the requirement. |
| Submittals: | - EFB-A2a_01 Complete the following table: Total no. of residential units in the project:. 20% of residential units in the project (round up to the nearest whole number):. No. of residential units that comply with the requirements:. |
|  | - EFB-A2a_02 Provide any one of the supporting information showing the total no. of residential units in the project: - Latest GBP; - Sales Brochure; - Declaration signed by a representative of the Applicant (refer to Appendix A). |
|  | - EFB-A2a_03 Provide drawing(s) and/ or sample photo(s) to demonstrate: - The bathroom doorway is at least 850 mm. |

Representative of the Applicant is defined as: (i) Building Owner; (ii) Applicant of this certification; (iii) The project Authorized Person/ BEAM Pro/ Architect; (iv) Representative from the facility management company.

At least one set of photos shall be provided for each building in the project, with measurements of the relevant dimensional requirements clearly shown in the photos where applicable.