| EFB No.: | EFB-A2b |
| --- | --- |
| EFB Name.: | Residential Bathroom Doors |
| Category: | A. Mobility and Accessibility |
| Extent of Application: | Residential Units’ Bathrooms |
| Recommended Design Requirements: | Sliding doors should be provided for easy and convenient use. Where sliding doors could not be provided, doors that take up less space, such as folding or double swing doors, should be provided. |
| Assessment Criteria: | - At least 20% of the residential units shall comply with the requirement. - Sliding door/ folding door/ double swing door shall be provided in the bathrooms. - If more than 1 bathroom is provided in the unit, at least 1 of the bathrooms shall fulfil the requirement. |
| Submittals: | - EFB-A2b_01 Complete the following table: Total no. of residential units in the project:. 20% of residential units in the project (round up to the nearest whole number):. No. of residential units that comply with the requirements:. |
|  | - EFB-A2b_02 Provide any one of the supporting information showing the total no. of residential units in the project: - Latest GBP; - Sales Brochure; - Declaration signed by a representative of the Applicant (refer to Appendix A). |
|  | - EFB-A2b_03 Provide drawing(s) and/ or sample photo(s) to demonstrate: - Sliding door/ folding door/ double swing door are provided. |

Representative of the Applicant is defined as: (i) Building Owner; (ii) Applicant of this certification; (iii) The project Authorized Person/ BEAM Pro/ Architect; (iv) Representative from the facility management company.

At least one set of photos shall be provided for each building in the project, with measurements of the relevant dimensional requirements clearly shown in the photos where applicable.