| EFB No.: | EFB-A5b |
| --- | --- |
| EFB Name.: | Residential Doors and Faucet Handles |
| Category: | A. Mobility and Accessibility |
| Extent of Application: | Residential Units |
| Recommended Design Requirements: | Lever-type controls and handles should be used. Knob handles, push operated and self-closing type faucet controls should be avoided. A sample is provided below. Reference: Design Manual: Barrier Free Access 2008 (2025 Edition), Buildings Department, HKSAR |
| Assessment Criteria: | - At least 20% of the residential units shall comply with the requirement. - All doors shall be equipped with lever-type handles. - All faucets shall be: - Equipped with lever-type handles; or - Sensor controlled for automatic operation. - If more than 1 bedroom/ bathroom/ kitchen is provided in the unit, at least 1 of the bedrooms/ bathrooms/ kitchens shall fulfil the requirement. |
| Submittals: | - EFB-A5b_01 Complete the following table: Total no. of residential units in the project:. 20% of residential units in the project (round up to the nearest whole number):. No. of residential units that comply with the requirements:. |
|  | - EFB-A5b_02 Provide any one of the supporting information showing the total no. of residential units in the project: - Latest GBP; - Sales Brochure; - Declaration signed by a representative of the Applicant (refer to Appendix A). |
|  | - EFB-A5b_03 Provide drawing(s) and/ or sample photo(s) and/ or catalogue(s) to demonstrate: - All doors are equipped with lever-type handles. |
|  | - EFB-A5b_04 Provide drawing(s) and/ or sample photo(s)2 and/ or catalogue(s) to demonstrate: - All faucets are either equipped with lever-type handles or are sensor-controlled for automatic operation. |

Representative of the Applicant is defined as: (i) Building Owner; (ii) Applicant of this certification; (iii) The project Authorized Person/ BEAM Pro/ Architect; (iv) Representative from the facility management company

At least one set of photos shall be provided for each building in the project, with measurements of the relevant dimensional requirements clearly shown in the photos where applicable.