| EFB No.: | EFB-A8a |
| --- | --- |
| EFB Name.: | Common Accessible Routes Automatic Doors |
| Category: | A. Mobility and Accessibility |
| Extent of Application: | Accessible Routes at Common Area |
| Recommended Design Requirements: | Automatic doors should be provided as far as practicable. |
| Assessment Criteria: | - Automatic doors should be provided along major access route(s). - When identifying the major access route(s), the circulation paths accessing to all of the following space types from the main building entrance(s) shall be considered: - Main lobby/ foyer; - Lift lobbies; - Clubhouse entrance; - Shops, restaurants, cinemas, etc.; - Toilets; - External recreational facilities. - For each podium and block/tower (as applicable), accessible routes shall be provided from the main entrance to each of the required facility types listed in Criterion 3. These routes do not need to form a single continuous path; multiple distinct accessible routes may be used. However, there shall be at least one compliant accessible route to each listed facility type, ensuring that every required destination is reachable via a route that meets all relevant accessibility requirements. This is to provide safe and inclusive access, particularly for elderly individuals. - The following doors are excluded in the assessment: - Shops; - Toilets; - Individual rooms within a clubhouse; - Fire exit doors. - Common corridors on typical floors are generally not included in the assessment but may be considered for inclusion at the discretion of the applicant. |
| Submittals: | - EFB-A8a_01 Provide annotated layout drawing(s) to identify: - The major access route(s); and - The location(s) where automatic doors are provided. |
|  | - EFB-A8a_02 Provide drawing(s) and/ or sample photo(s) and/ or catalogue(s) to demonstrate: - Automatic doors are provided. |

Major access route is referred to the primary pathway or circulation route that enables safe, convenient, and unobstructed movement within the building that connects key areas such as entrances, elevators, staircases, communal spaces, and essential facilities, etc. For detailed step-by-step guidance on determining the major access route, refer to Appendix B1.

At least one set of photos shall be provided for each building in the project, with measurements of the relevant dimensional requirements clearly shown in the photos where applicable.

Automatic doors are those that open automatically without manual operation. Doors that only unlock automatically but still require manual opening are not acceptable.