| EFB No.: | EFB-C2a |
| --- | --- |
| EFB Name.: | Ventilation at Corridor and Lift Lobby |
| Category: | C. Well-being |
| Extent of Application: | Common Areas and Facilities |
| Recommended Design Requirements: | Large windows at the end of long and dark corridors that may cause glare should be avoided. Cross ventilation should be optimised in common areas such as corridors and lift lobbies. |
| Assessment Criteria: | - Common areas such as corridors and lift lobbies on typical floors shall be ventilated through cross ventilation. |
| Submittals: | - EFB-C2a_01 Provide drawing(s) to demonstrate: - Corridors and lift lobbies on typical floors are cross-ventilated. |

Cross ventilation is defined as openings provided on two different sides or planes of a space, allowing natural air flow.