| EFB No.: | EFB-C6a |
| --- | --- |
| EFB Name.: | Seating at External Recreation Spaces |
| Category: | C. Well-being |
| Extent of Application: | Common External Recreation Spaces |
| Recommended Design Requirements: | Resting places with resting facilities, such as seats (including fold-down seats), lean-on railing, fixed chairs, tables and benches, steps, planter edges for sitting preferably with shelters or at covered areas should be provided at outdoor open space. |
| Assessment Criteria: | - Resting facilities shall be provided in all external recreation spaces. - Adequate resting facilities shall be provided to ensure that the elderly do not need to walk more than 50 meters to reach a seating facility within the external recreational areas. |
| Submittals: | - EFB-C6a_01 Provide annotated layout drawing(s) to identify: - The location(s) of the resting facilities. - The distances(s) between the resting facilities are not more than 50 meters apart. |
|  | - EFB-C6a_02 Provide drawing(s) and/ or sample photo(s) to demonstrate: - Resting facilities is provided. |

At least one set of photos shall be provided for each building in the project, with measurements of the relevant dimensional requirements clearly shown in the photos where applicable.