| EFB No.: | EFB-C9a |
| --- | --- |
| EFB Name.: | Common Areas Surfaces |
| Category: | C. Well-being |
| Extent of Application: | Common Areas and Facilities |
| Recommended Design Requirements: | Sound-absorbing materials should be used for floors and walls to avoid echoes. Non-glare or low gloss finishes on floors, matt paint or textured wallpaper on walls should be considered to help reduce glare. Glass or reflective material should be avoided. |
| Assessment Criteria: | - Sound-absorbing designs and/ or materials shall be incorporated in the main foyer or main entrance to minimize echo and enhance the space for the elderly. - The visible appearance of the flooring and wall finishes in the main foyer or main entrance shall be non-glare or low-gloss. |
| Submittals: | - EFB-C9a_01 Provide drawing(s) and/ or catalogue(s) and/ or sample photo(s) to demonstrate: - The sound-absorbing designs and/ or materials. - Non-glare or low gloss floorings; - Non-glare or low gloss walls. |

At least one set of photos shall be provided for each building in the project, with measurements of the relevant dimensional requirements clearly shown in the photos where applicable.