| EFB No.: | EFB-D1a |
| --- | --- |
| EFB Name.: | Network Enabling |
| Category: | D. Gerontechnology |
| Extent of Application: | Residential Units and Common Areas |
| Recommended Design Requirements: | Enabling works for high-speed and stable internet provision (e.g. 5G) / Global Positioning System / Radio Frequency Identification Technology to support the use of gerontechnology and Internet of Things (e.g. smart card system for main entrance; water flow sensor; call caring services; motion sensor; window opener; artificial intelligence and robotic support; remote gas heater control; and door sensor) should be provided in residential units and common areas of the buildings. |
| Assessment Criteria: | - Enabling works (e.g., high-speed and stable internet provision, Global Positioning System, and Radio Frequency Identification Technology) to support smart/ IoT devices shall be provided in residential units and common areas throughout the building. - Some example of the supported smart devices may include: - Smart card system for the main entrance; - Water flow sensors; - Call caring services; - Motion sensors; - Window openers; - Artificial intelligence and robotic support; - Remote gas heater controls; - Door sensors. |
| Submittals: | - EFB-D1a_01 Provide a brief description of the enabling works implemented to support smart/IoT devices in the building, including:: - The type of infrastructure provided (e.g. 5G, GPS, RFID, etc.); - The coverage of the provision. |
|  | - EFB-D1a_02 Provide drawing(s) and/ or catalogue(s) to demonstrate the enabling works provided. |

Common areas include entrance lobbies, lift lobbies, corridors, and toilets.