| Project Name: |  |  |  | PA submission |  | FA submission |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Project Code: |  |  |  |  |
|  |  |  | CIR Applied |  | Y |  | N |
|  |  |  | CIR Number |  |  |  |  |
| Extent of Application: | Part (a) – All DC with central HVAC plant that is controlled by the Applicant Part (b) – All DC with systems that are controlled by the Applicant Part (c) – All DC |  |  |  |  |  |  |
| Objectives: | To encourage proper and efficient operation of the engineering systems by operation and maintenance programme. |  |  |  |  |  |  |
| Credit Requirement: | - Central Heating Ventilation and Air-Conditioning (HVAC) Plant 2 credit points for demonstrating the operation of a planned programme of regular inspection and maintenance of the central HVAC plant. - Other Engineering Systems Maximum 4 credit points for demonstrating the operation of a planned programme of regular inspection and maintenance of the following listed systems. - Air-conditioning system except HVAC plant; - Electrical system; - Lighting system; and - Plumbing and drainage system. - Assessment of Operation & Maintenance Practice 1 credit point for having undertaken an audit of the effectiveness of the O&M practices for all building services engineering systems. |  |  |  |  |  |  |
| Credit(s) Attainable: |  | 7 |  |  |  |  |  |
| Credit(s) anticipated for this submission: |  |  |  |  |  |  |  |

COMPLIANCE

Please confirm that the following requirement is met by checking the box with .

|  | The operation of planned regular inspection and maintenance programme of the central HVAC plant. |  |  |
| --- | --- | --- | --- |
|  | The operation of planned regular inspection and maintenance programme of the following system(s): |  |  |
|  |  |  | Air-conditioning (except central HVAC plant) system |
|  |  |  | Electrical system |
|  |  |  | Lighting system |
|  |  |  | plumbing & drainage system |
|  | A report detailing the steps taken, outcomes and actions taken or planned for improvements in the building services operation and maintenance practices is provided. |  |  |

SUBMITTALS

- Central Heating Ventilation and Air-Conditioning (HVAC) Plant

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| MAN-03-03a_00 | BEAM Plus EDC submission template for MAN-03-03 |  |  |
| MAN-03-03a_01 | Frequencies of cleaning and inspection of the applicable system(s) |  |  |
| MAN-03-03a_02 | Maintenance procedures of the central HVAC plant |  |  |
| MAN-03-03a_03 | Personnel that are responsible for the inspection, cleaning and maintenance |  |  |
| MAN-03-03a_04 | Records of inspection, maintenance and repairs for the past 12 months [#] |  |  |
| MAN-03-03a_05 | The planned inspection, maintenance and repairs programme for the next 12 months |  |  |

- Other Engineering Systems - Air-conditioning system except HVAC plant

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| MAN-03-03b_00 | BEAM Plus EDC submission template for MAN-03-03 |  |  |
| MAN-03-03b_01 | Frequencies of cleaning and inspection of the applicable system(s) |  |  |
| MAN-03-03b_02 | Maintenance procedures of the air-conditioning system except HVAC plant |  |  |
| MAN-03-03b_03 | Personnel that are responsible for the inspection, cleaning and maintenance |  |  |
| MAN-03-03b_04 | Records of inspection, maintenance and repairs for the past 12 months [#] |  |  |

- Other Engineering Systems - Electrical system

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| MAN-03-03b_00 | BEAM Plus EDC submission template for MAN-03-03b |  |  |
| MAN-03-03b_05 | Frequencies of cleaning and inspection of the applicable system(s) |  |  |
| MAN-03-03b_06 | Maintenance procedures of the electrical system |  |  |
| MAN-03-03b_07 | Personnel that are responsible for the inspection, cleaning and maintenance |  |  |
| MAN-03-03b_08 | Records of inspection, maintenance and repairs for the past 12 months [#] |  |  |
| MAN-03-03b_09 | The planned inspection, maintenance and repairs programme for the next 12 months |  |  |

- Other Engineering Systems - Lighting system

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| MAN-03-03b_00 | BEAM Plus EDC submission template for MAN-03-03b |  |  |
| MAN-03-03b_10 | Frequencies of cleaning and inspection of the applicable system(s) |  |  |
| MAN-03-03b_11 | Maintenance procedures of the lighting system |  |  |
| MAN-03-03b_12 | Personnel that are responsible for the inspection, cleaning and maintenance |  |  |
| MAN-03-03b_13 | Records of inspection, maintenance and repairs for the past 12 months [#] |  |  |
| MAN-03-03b_14 | The planned inspection, maintenance and repairs programme for the next 12 months |  |  |

- Other Engineering Systems - Plumbing and drainage system

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| MAN-03-03b_00 | BEAM Plus EDC submission template for MAN-03-03b |  |  |
| MAN-03-03b_15 | Frequencies of cleaning and inspection of the applicable system(s) |  |  |
| MAN-03-03b_16 | Maintenance procedures of the plumbing and drainage system |  |  |
| MAN-03-03b_17 | Personnel that are responsible for the inspection, cleaning and maintenance |  |  |
| MAN-03-03b_18 | Records of inspection, maintenance and repairs for the past 12 months [#] |  |  |
| MAN-03-03b_19 | The planned inspection, maintenance and repairs programme for the next 12 months |  |  |

- Assessment of Operation & Maintenance Practice

| Supporting Documents |  | PA | FA |
| --- | --- | --- | --- |
| MAN-03-03c_00 | BEAM Plus EDC submission template for MAN-03-03c |  |  |
| MAN-03-03c_01 | Audit report showing the effectiveness of the O&M practice |  |  |

SPECIAL CIRCUMSTANCE

Describe the circumstance limiting the project team’s ability to complete this form or provide the submittals required in this template. Be sure to reference what additional documentation has been provided, if any. Non-standard documentation will be considered upon its merits (Optional)